[image: image3.png]iSWM Criteria Manual

S N
iSWM Program
—




iSWMTM Criteria Manual

[image: image4.jpg]a} NCTCOG

North Central Texas Council of Governments

iSWM Criteria Manual for
Site Development and Construction

Stormwater i
Management =





Overview of the iSWM Program
The iSWM Program for Construction and Development is a cooperative initiative that assists municipalities and counties to achieve their goals of water quality protection, streambank protection, and flood mitigation, while also helping communities meet their construction and post-construction obligations under state stormwater permits.

Development and redevelopment by their nature increase the amount of imperviousness in our surrounding environment. This increased imperviousness translates into loss of natural areas, more sources for pollution in runoff, and heightened flooding risks. To help mitigate these impacts, more than 60 local governments are cooperating to proactively create sound stormwater management guidance for the region through the integrated Stormwater Management (iSWM) Program. 

The iSWM Program is comprised of four types of documentation and tools as shown in Figure 1. These are used to complement each other and to support the development process. 


The four parts of iSWM are:
· iSWM Criteria Manual –This document provides a description of the development process, the iSWM focus areas and locally adopted design criteria allowing municipalities a flexible approach to apply at a local level.
· iSWM Technical Manual – This set of document provides technical guidance including equations, descriptions of methods, fact sheets, etc. necessary for design.
· iSWM Tools – This includes web-served training guides, examples, design tools, etc. that could be useful during design.

· iSWM Program Guidance – This includes reference documents that guide programmatic planning rather than technical design.
Table of Contents
11.0 Overview of iSWM Criteria Manual


11.1
Introduction


41.2
integrated Development Process


41.3
integrated Design Criteria


71.4
integrated Construction Criteria


82.0 integrated Development Process


82.1 
Planning


82.2 
Steps in the Development Process


10Step 1 – Review Local Requirements and Municipality Processes


10Step 2 – Collect Data and Perform Site Analysis


11Step 3 – Prepare Conceptual/Preliminary iSWM Plans


12Step 4 – Prepare Final iSWM Plans and iSWM Construction Plan


12Step 5 – Complete Operations and Maintenance Plan


143.0 integrated Design Criteria


143.1
Hydrologic Methods


143.1.1 
Types of Hydrologic Methods


173.1.2
Rainfall Estimation


173.2
Water Quality Protection


173.2.1
Introduction


173.2.2
Option 1: integrated Site Design Practices and Credits


223.2.3
Option 2: Treat the Water Quality Protection Volume


263.2.4
Option 3: Assist with Off-Site Pollution Prevention Programs and Activities


263.3 
Acceptable Downstream Conditions


273.4 
Streambank Protection


293.5 
Flood Mitigation


293.5.1 
Introduction


293.5.2
Flood Mitigation Design Options


303.6 
Stormwater Conveyance Systems


303.6.1
Introduction


303.6.2
Hydraulic Design Criteria for Streets and Closed Conduits


333.6.3
Hydraulic Design Criteria for Structures


443.7
Easements, Plats, and Maintenance Agreements


463.8
Stormwater Control Selection


463.8.1
Control Screening Process


614.0 integrated Construction Criteria


614.1
Applicability


614.2
Introduction


624.3 
Criteria for BMPs during Construction


634.3.1 
Erosion Controls


644.3.2 
Sediment Controls


664.3.3 
Material and Waste Controls


684.3.4 
Installation, Inspection and Maintenance


695.0 Additional Local Requirements


70Checklist for Conceptual iSWM Plan Preparation and Review


73Checklist for Preliminary iSWM Plan Preparation and Review


76Checklist for Final iSWM Plan Preparation and Review




List of Tables

Table
Name
Page

1.1
iSWM Applicability…………………………………………………………………………………….
2
1.2 
Storm Events…………………………………………………………………………………………..
5
1.3
Summary of Options for Design Focus Areas……………………………………………………...
6
3.1
Applications of the Recommended Hydrologic Methods………………………………………..
15
3.2
Constraints on Using Recommended Hydrologic Methods……………………………………..
16
3.3
Integration of Site Design Practices with Site Development Process………………………….
19
3.4
integrated Site Design Point Requirements………………………………………………………
20
3.5
Point System for integrated Site Design Practices………………………………………………
21
3.6
Suitability of Stormwater Controls to Meet integrated Focus Areas……………………………
25
3.7
Flow Spread Limits…………………………………………………………………………………..
31
3.8
Desirable Velocity in Storm Drains…………………………………………………………………
32
3.9
Access Manhole Spacing Criteria………………………………………………………………….
32
3.10
Roughness Coefficients (Manning’s n) and Allowable Velocities for Natural Channels……..
35
3.11
Maximum Velocities for Vegetative Channel Linings…………………………………………….
36
3.12
Classification of Vegetal Covers as to Degrees of Retardance………………………………...
37
3.13
Recommended Loss Coefficients for Bridges…………………………………………………….
40
3.14
Closed Conduit Easements…………………………………………………………………………
45
3.15
Stormwater Treatment Suitability…………………………………………………………………..
49
3.16
Water Quality Performance…………………………………………………………………………...
50
3.17
Site Applicability………………………………………………………………………………………..
51
3.18
Implementation Considerations………………………………………………………………………
52
3.19
Physiographic Factors…………………………………………………………………………………
55
3.20
Soils……………………………………………………………………………………………………..
56
3.21
Special Watershed Considerations…………………………………………………………………..
57
3.22
Location and Permitting Checklist…………………………………………………………………
59
4.1
Requirements for Materials and Wastes………………………………………………………….
66
List of Figures

Figure
Name
Page

1.1
iSWM Applicability Flowchart………………………………………………………………………..
3
2.1
iSWM  Flowchart……………………………………………………………………………………...
9
1.0 Overview of iSWM Criteria Manual
This Chapter discusses the criteria aspects of iSWM and lays out the framework and specific requirements. Local governments may modify this section to meet any local provisions.
1.1
Introduction
The purpose of this manual is to provide design guidance and a framework for incorporating effective and environmentally sustainable stormwater management into the site development and construction processes and to encourage a greater regional uniformity in developing plans for stormwater management systems that meet the following goals:

· Control runoff within and from the site to minimize flood risk to people and properties;
· Assess discharges from the site to minimize downstream bank and channel erosion; and
· Reduce pollutants in stormwater runoff to protect water quality and assist communities in meeting regulatory requirements.
Following criteria provided in the manual will help to meet sustainable development goals. There are many ways that sustainable development may be achieved while following these criteria. For example, a development that reduces individual lot imperviousness and a development that has high lot density in one area and a large open space in another can both meet sustainable requirements.

Chapter Summary

The iSWM Criteria Manual consists of five chapters:  

Chapter 1 – Introduction and Summary

Chapter 2 – integrated Development Process

Chapter 3 – integrated Design Criteria
Chapter 4 – integrated Construction Criteria
Chapter 5 – Additional Local Provisions
Local Provision Boxes

Throughout this manual you will notice “Local Provision” boxes. These boxes are used by a local government to add, delete, or modify sections of the criteria and specify the options allowed and/or required by the local government. Additional local information can be added and will be located in Chapter 5.
	Local Provisions:



Applicability

iSWM is applicable under the following conditions for development and redevelopment that will ultimately disturb one or more acres as illustrated below and in Figure 1.1:
	Table 1.1  iSWM Applicability 

	Applicable for iSWM Site Design:
	Applicable for iSWM Construction:

	Land disturbing activity of 1 acre or more 
OR

land disturbing activity of less than 1 acre where the activity is part of a common plan of development that is one acre or larger.
	Land disturbing activity of 1 acre or more

OR

land disturbing activity of less than 1 acre where the activity is part of a common plan of development that is one acre or larger.


A common plan of development consists of construction activity that is completed in separate stages, separate phases, or in combination with other construction activities.
Development and redevelopment are not specifically defined in this manual. The applicability is based on land disturbance activities. If an existing site has been cleared and graded, but not developed, within five years of the date of the developer’s initial application submittal, the developer must consider the land conditions prior to the clearing and grading to be the existing site conditions.
New development or redevelopment in critical or sensitive areas, or as identified through a watershed study or plan, may be subject to additional performance and/or regulatory criteria as specified by the local government.  Furthermore, these sites may need to utilize certain structural controls in order to protect a special resource or address certain water quality or drainage problems identified for a drainage area or watershed.

Site Design below Applicable Criteria
Site developments that do not meet the applicability requirements are not subject to the regulatory water quality or streambank protection requirements. However, it is recommended that these criteria still be used and that temporary controls be provided during construction.  Flood mitigation and conveyance criteria still apply. The planning process is also simplified for sites below the applicable criteria to an optional pre-development review before the final submittal of the engineering plans. 

	Local Provisions:




[image: image1.emf]

1.2
integrated Development Process 

Chapter 2 of this manual presents details for completing the full iSWM development process which consists of five steps. Each of the steps builds on the previous steps to result in Final iSWM Plans and Construction Plans.

Step 1 – Review Local Requirements and Municipality’s Processes
Step 2 – Collect Data and Perform Site Analysis 

Step 3 – Prepare Concept/Preliminary iSWM Plans 
Step 4 – Prepare Final iSWM Plans and iSWM Construction Plan

Step 5 – Prepare Operation and Maintenance Plans
	Local Provisions:




1.3
integrated Design Criteria
Chapter 3 of this manual presents an integrated approach for meeting stormwater runoff quality and quantity management goals by addressing the key adverse impacts of development on stormwater runoff.  Its framework consists of three focus areas, each with options in terms of how the focus area is applied. 

Design Focus Areas

The stormwater management focus areas and goals are: 

· Water Quality Protection: Remove pollutants in stormwater runoff to protect water quality
· Streambank Protection: Regulate discharge from the site to minimize downstream bank and channel erosion
· Flood Mitigation and Conveyance: Control runoff within and from the site to minimize flood risk to people and properties for the conveyance storm as well as the 100-year storm.
Each of the Design Focus Areas must be used in conjunction with the others to address the overall stormwater impacts from a development site.  When used as a set, the Design Focus Areas control the entire range of hydrologic events, from the smallest runoff-producing rainfalls up to the 100-year, 24-hour storm. 
	Local Provisions:




Design Storms

Integrated design is based on the following four (4) storm events.
	Table 1.2  Storm Events

	Storm Event Name
	Storm Event Description

	“Water Quality”
	Criteria based on a volume of 1.5 inches of rainfall, not a storm frequency

	“Streambank Protection”
	1-year, 24-hour storm event

	“Conveyance”
	25-year, 24-hour storm event

	“Flood Mitigation”
	100-year, 24-hour storm event


Throughout the manual the storms will be referred to by their storm event names. 
	Local Provisions:




Design Focus Area Application Options

There are multiple options provided to meet the required criteria for water quality protection, streambank protection, and flood mitigation. These design options are summarized in Table 1.3. 

Design criteria for streambank protection and flood mitigation are based on a downstream assessment. The purpose of the downstream assessment is to protect downstream properties and channels from increased flooding and erosion potential due to upstream development.  A downstream assessment is required to determine the extent of improvements necessary for streambank protection and flood mitigation. Downstream assessments shall be performed for streambank protection, conveyance, and flood mitigation storm events.  More information on downstream assessments is provided in Section 3.3.
If a development causes no adverse impacts to existing conditions, then it is possible that little or no mitigation would be required.
	Table 1.3  Summary of Options for Design Focus Areas

	Design Focus Area
	Reference Section
	Required Downstream Assessment
	Design Options

	Water Quality Protection
	3.2
	no
	Option 1: Use integrated Site Design Practices for conserving natural features, reducing impervious cover, and using the natural drainage systems

	
	
	
	Option 2: Treat the Water Quality Protection Volume (WQV) by reducing total suspended solids from the development site for runoff resulting from rainfalls of up to 1.5 inches (85th percentile storm)

	
	
	
	Option 3: Assist in implementing off-site community stormwater pollution prevention programs/activities as designated in an approved stormwater master plan or TPDES Stormwater permit

	Streambank Protection
	3.4
	yes
	Option 1: Reinforce/stabilize downstream conditions

	
	
	
	Option 2: Install stormwater controls to maintain or improve existing downstream conditions

	
	
	
	Option 3: Provide on-site controlled release of the 1-year, 24-hour storm event over a period of 24 hours (Streambank Protection Volume, SPV)

	Flood Mitigation and Conveyance
	3.5 and 3.6
	yes
	Flood Mitigation
Option 1: Provide adequate downstream conveyance systems

	
	
	
	Option 2: Install stormwater controls on-site to maintain or improve existing downstream conditions

	
	
	
	Option 3: In lieu of a downstream assessment, maintain existing on-site runoff conditions

	
	
	
	Conveyance

Minimize localized site flooding of streets, sidewalks, and properties by a combination of on-site stormwater controls and conveyance  systems


	Local Provisions:




1.4
integrated Construction Criteria

Chapter 4 of this manual presents an integrated approach for reducing the impact of stormwater runoff from construction activities on downstream natural resources and properties.  The purpose is to provide design criteria for temporary controls during construction that protect water quality by: 

· Preventing soil erosion;

· Capturing sediment on-site when preventing erosion is not feasible due to construction activities; and

· Controlling construction materials and wastes to prevent contamination of stormwater.

Temporary controls to protect water quality are known as Best Management Practices (BMPs).  The design of the BMPs is to be coordinated with and done at the same time as the Preliminary and Final iSWM Plans.  Construction BMPs complement and work with the site grading and drainage infrastructure.    

Erosion Control BMPs are designed to minimize the area of land disturbance and to protect disturbed soils from erosion.  Protection can be accomplished by diverting stormwater away from the disturbed area or by stabilizing the disturbed soil.  Erosion control BMPs are most important on disturbed slopes and channels where the potential for erosion is greatest.  The design of erosion control BMPs must be coordinated with related grading, drainage and landscaping elements. (e.g. channel armoring, velocity dissipaters, etc.)        
Sediment Control BMPs are temporary structures or devices that capture soil transported by stormwater.  The BMPs are designed to function effectively with the site drainage patterns and infrastructure.  An effective design ensures that the sediment control BMPs do not divert flow or flood adjacent properties and structures.  Some types of permanent drainage structures, such as retention basins, can also be designed to function as a sediment control BMP during construction.    

Material and Waste Control BMPs prevent construction materials and wastes from coming into contact with and being transported by stormwater.  These BMPs consist of a combination of notes to direct contractor and temporary construction controls.   

The iSWM Construction Criteria are the minimum requirements for temporary controls during construction.  The state permit and requirements for stormwater discharges associated with construction activities must also be followed.  More information on state requirements is provided in Section 4.2.

	Local Provisions:




2.0 integrated Development Process 
This Chapter discusses the five-step development process. Local governments will integrate these processes into their current process by the addition of local provisions.
2.1 
Planning

A formal integrated Stormwater Management Development Process shall be implemented to meet the stormwater management goals and to see that local stormwater guidelines and requirements are implemented.  The process shall include the steps, meetings, and documents that must be met by the developer. The five-step process described herein includes the following:
· The iSWM Plans: The iSWM Plans are the documents that summarize the data collected in steps 1 and 2 and are shown on the conceptual/preliminary and final plans that must be submitted to the municipality as part of steps 3, 4, and 5. Each submittal must follow the criteria outlined in Chapters 2 and 3. Submittals shall include information in accordance with the checklists that are included in Chapter 5.
· The iSWM Construction Plan: The iSWM Construction Plan is the document that uses data collected in steps 1 and 2 to protect water quality during construction.  It is submitted to the municipality with the Final iSWM Plans in Step 4. An overview of the iSWM construction plan content is covered in Section 2.2.  More detailed criteria for the iSWM Construction Plan are outlined in Chapter 4. 
The iSWM Plans and iSWM Construction Plan are a subset of the overall development process that occurs throughout the planning and development cycle of a project and then continues after construction is completed via regular inspection and maintenance of the stormwater management system.

In addition to these plans, stormwater master plans are an important tool used to assess and prioritize both existing and potential future stormwater problems and to consider alternative stormwater management solutions. Local governments may have individual watershed plans, or several governments may work cooperatively to develop a unified approach to watershed planning, development controls, permit compliance, multi-objective use of floodplain and other areas, and property protection. Refer to the Local Provisions in Step 1 under Section 2.2 where regional approaches (if any) are identified.
2.2 
Steps in the Development Process

This section describes the typical contents and general procedure for preparing iSWM Plans and the iSWM Construction Plan.  The level of detail involved in the plans will depend on the project size and the individual site and development characteristics. Figure 2.1 lays out the five-step process. Each of the following steps builds on the previous steps to result in the Final iSWM Site and Construction Plans:
Step 1 – Review Local Requirements and Municipality’s Processes
Step 2 – Collect Data and Perform Site Analysis 

Step 3 – Prepare Concept/Preliminary iSWM Plans 

Step 4 – Prepare Final iSWM Plans and iSWM Construction Plan

Step 5 – Prepare Operation and Maintenance Plans
[image: image2.emf]
Step 1 – Review Local Requirements and Municipality Processes

The site developer shall become familiar with the local stormwater management, development requirements and design criteria that apply to the site.  These requirements include: 

	· iSWM Criteria Manual for Site Development and Construction (this manual including all local provisions)
· Available online iSWM Program documents

· iSWM Technical Manual

· iSWM Tools

· iSWM Program Guidance

· State and Federal Regulatory Requirements

	· Other Local Municipal Ordinances and Criteria
· Platting Procedures

· Zoning Requirements

· Development Codes and Procedures

· Tree and Landscape Requirements

· Special Use Permits

· Drainage Master Plans and Watershed Plans

· Erosion Control Plans

· Floodplain Ordinances

· Grading Plan Requirements

· Construction/Building Permit Notifications and Requirements




Information regarding the above items can be obtained from this manual or at a pre-submittal (or similar) meeting with the municipality. 
A critical part of any project involves the proposed development working closely with various departments within the municipality.  Integrating the stormwater practices with other regulatory requirements will promote a sustainable development. 

Opportunities for special types of development (e.g., clustering) or special land use opportunities (e.g., conservation easements or tax incentives) must be investigated.  In addition, there may be an ability to partner with a local community for the development of greenways or other riparian corridor or open space developments. 
All applicable State and Federal regulatory requirements must be met.
	Local Provisions:




Step 2 – Collect Data and Perform Site Analysis 

Using field and mapping techniques approved by the municipality, the site engineer shall collect and review information on the existing site conditions and map the following site features:
	· Topography

· Drainage patterns and basins

· Intermittent and perennial streams on-site and off-site waters that will receive discharges from the proposed development
· Soil types and their susceptibility to erosion
· Ground cover and vegetation, particularly unique or sensitive vegetation areas to be protected during development
· Existing development

· Existing stormwater facilities on-site and off-site facilities that will receive discharges from the proposed development
	· Property lines, adjacent areas and easements

· Wetlands and critical habitat areas

· Boundaries of wooded areas and tree clusters
· Floodplain boundaries

· Steep slopes

· Required buffers and setbacks along water bodies
· Proposed stream crossing locations

· Other required protection areas


The site analysis shall be summarized in the conceptual/preliminary iSWM Plans along with any other supporting documents. The data collected and analyzed during this step of the development process shall be used as the starting point for preparing the iSWM Plans and the iSWM Construction Plan.
	Local Provisions:




Step 3 –Prepare Conceptual/Preliminary iSWM Plans
Conceptual iSWM Plan

Based on the review of existing conditions and site analysis, the design engineer shall develop and submit a Conceptual iSWM Plan for the project. The Conceptual iSWM Plan allows the design engineer to propose a potential site layout and gives the developer and local review authority a “first look” at the stormwater management system for the proposed development. 
The following steps shall be followed in developing the Conceptual iSWM Plan with the help of the Checklist for Conceptual iSWM Plans found in Chapter 5 of this manual:
1. Use integrated Site Design Practices (Section 3.2.2) as applicable to develop the site layout, including:

· Preserving the natural feature conservation areas defined in the site analysis

· Fitting the development to the terrain and minimizing land disturbance

· Reducing impervious surface area through various techniques

· Preserving and utilizing the natural drainage system wherever possible

2. Determine the credits for integrated Site Design (Section 3.2.2) and water quality volume reduction (Section 3.2.3) as applicable, to be accounted for in the design of structural and non-structural stormwater controls on the site.

3. Calculate conceptual estimates of the locally required focus area design requirements for water quality protection, streambank protection, and flood mitigation (Sections 3.2, 3.4, 3.5) based on the conceptual plan site layout.

4. Perform screening and conceptual selection of appropriate temporary and permanent structural stormwater controls (Section 3.8 and Section 4.0) and identification of potential site locations.
It is extremely important at this stage that stormwater system design is integrated into the overall site design concept in order to best and most cost-effectively reduce the impacts of the development as well as provide for the most cost-effective and environmentally sensitive approach.  Using hydrologic calculations, the goal of mimicking pre-development conditions can serve a useful purpose in planning the stormwater management system.

	Local Provisions:




Preliminary iSWM Plans
The Preliminary iSWM Plan ensures that requirements and criteria are complied with and opportunities are taken to minimize adverse impacts from the development.  This step builds on the data developed in the Conceptual iSWM Plan by refining and providing more detail to the concepts identified. If no Conceptual Plan is submitted, it shall be part of the Preliminary iSWM Plan. The checklist for Preliminary iSWM Plan in Chapter 5 outlines the data that shall be included in the preliminary iSWM Plan.   

The Preliminary iSWM Plan shall consist of maps, plan sheets, narrative, and supporting design calculations (hydrologic and hydraulic) for the proposed stormwater management system. The completed Preliminary iSWM Plan shall be submitted to the local review authority for review and comment.
	Local Provisions:




Step 4 – Prepare Final iSWM Plans and iSWM Construction Plan

The Final iSWM Plans and iSWM Construction Plan shall be prepared together and submitted to the local review authority for approval prior to any soil disturbance or other construction activities on the development site.  The Final iSWM Plans add further detail to the Preliminary iSWM Plan and reflect changes that are requested or required by the local review authority.  
The Final iSWM Plans and iSWM Construction Plan, as outlined in the final iSWM Plan checklist in Chapter 5, shall include all of the revised elements of the Preliminary iSWM Plans as well as a landscape plan, operation and maintenance plan, and any permits/waiver requests.
	Local Provisions:




Step 5 – Complete Operations and Maintenance Plan
An Operations and Maintenance Plan shall be developed in accordance with this section. The plan shall be included in the Final iSWM Plan.  It needs to clearly state which entity has responsibility for operation and maintenance of temporary and permanent stormwater controls and drainage facilities to ensure they function properly from the time they are first installed.  
The Operations and Maintenance Plan shall include but is not limited to: 

· Responsible party for all tasks in the plan

· Inspection and maintenance requirements

· Maintenance of permanent stormwater controls and drainage facilities during construction 
· Cleaning and repair of permanent stormwater controls and drainage facilities before transfer of ownership

· Frequency of inspections for the life of the permanent structures 

· Funding source for long-term maintenance

· Description of maintenance tasks and frequency of maintenance
· Access and safety issues
· Maintenance easements
· Reviewed and approved maintenance agreements

· Testing and disposal of sediments

· Life span of structures and replacement as needed
Guidance for development of Operations and Maintenance Plans has been provided with each temporary and permanent Best Management Practice (BMP) included in the Stormwater Controls Technical Manual sections.
	Local Provisions:




3.0 integrated Design Criteria
This chapter gives details on criteria to meet the three focus areas of water quality, stream bank protection and flood mitigation, as well as information supportive of hydrology and stormwater conveyance.
3.1
Hydrologic Methods
3.1.1 
Types of Hydrologic Methods
There are a number of empirical hydrologic methods available to estimate runoff characteristics for a site or drainage sub basin.  However, the following methods have been selected to support hydrologic site analysis for the design methods and procedures included in this manual:
· Rational Method

· SCS Unit Hydrograph Method

· Snyder’s Unit Hydrograph Method

· USGS & TXDOT Regression Equations

· iSWM Water Quality Protection Volume Calculation 

· Water Balance Calculations

Table 3.1 lists the hydrologic methods and the circumstances for their use in various analysis and design applications.  Table 3.2 provides some limitations on the use of several methods.

In general: 

· The Rational Method is acceptable for small, highly impervious drainage areas, such as parking lots and roadways draining into inlets and gutters.

· The U.S. Geological Survey (USGS) and Texas Department of Transportation (TXDOT) regression equations are acceptable for drainage areas with characteristics within the ranges given for the equations shown in Table 3.2.  These equations should not be used when there are significant storage areas within the drainage basin or where other drainage characteristics indicate general regression equations are not appropriate.
	Local Provisions:




	Table 3.1  Applications of the Recommended Hydrologic Methods

	Method
	Rational Method
	SCS Method
	Modified Rational
	Snyder’s Unit Hydrograph
	USGS / TXDOT Equations
	iSWM Water Quality Volume Calculation

	Water Quality Protection Volume (WQv)
	
	
	
	
	
	(

	Streambank Protection Volume (SPv)
	
	(
	
	(
	
	

	Flood Mitigation Discharge (Qf)
	
	(
	
	(
	(
	

	Storage Facilities
	
	(
	(
	(
	
	

	Outlet Structures
	
	(
	
	(
	
	

	Gutter Flow and Inlets
	(
	
	
	
	
	

	Storm Drain Pipes
	(
	(
	
	(
	
	

	Culverts
	(
	(
	
	(
	(
	

	Bridges
	
	(
	
	(
	
	

	Small Ditches
	(
	(
	
	(
	
	

	Open Channels
	
	(
	
	(
	(
	

	Energy Dissipation
	
	(
	
	(
	
	


	Table 3.2  Constraints on Using Recommended Hydrologic Methods

	Method
	Size Limitations1
	Comments

	Rational
	0 – 100 acres
	Method can be used for estimating peak flows and the design of small site or subdivision storm sewer systems.

	Modified Rational2
	0 – 200 acres
	Method can be used for estimating runoff volumes for storage design.

	Unit Hydrograph (SCS)3
	Any Size
	Method can be used for estimating peak flows and hydrographs for all design applications.

	Unit Hydrograph (Snyder’s)4
	1 acre and larger
	Method can be used for estimating peak flows and hydrographs for all design applications.

	TXDOT Regression Equations
	10 to 100 mi2
	Method can be used for estimating peak flows for rural design applications.

	USGS Regression Equations
	3 – 40 mi2
	Method can be used for estimating peak flows for urban design applications.

	iSWM Water Quality Protection Volume Calculation
	Limits set for each Structural Control
	Method can be used for calculating the Water Quality Protection Volume (WQv).

	1 Size limitation refers to the drainage basin for the stormwater management facility (e.g., culvert, inlet).

2 Where the Modified Rational Method is used for conceptualizing, the engineer is cautioned that the method could underestimate the storage volume.
3 This refers to SCS routing methodology included in many readily available programs (such as HEC-HMS or HEC-1) that utilize this methodology.
4 This refers to the Snyder’s methodology included in many readily available programs (such as HEC-HMS or HEC-1) that utilize this methodology.


	Local Provisions:




3.1.2
Rainfall Estimation

Rainfall intensities are provided in Section 5.0 of the Hydrology Technical Manual for the nine (9) counties within the North Central Texas Council of Governments. The intensities are based on a combination of data from Hydro-35 and USGS. These intensities shall be used for all hydrologic analysis within the applicable county.    
	Local Provisions:




3.2
Water Quality Protection

3.2.1
Introduction

iSWM requires the use of integrated Site Design Practices as the primary means to protect the water quality of our streams, lakes, and rivers from the negative impacts of stormwater runoff from development.  The integrated Site Design Practices shall be designed as part of the iSWM Plans. In addition to the integrated Site Design Practices, required water quality protection can be achieved by two additional options: (1) by treating the water quality protection volume and (2) assisting with off-site pollution prevention activities. These three approaches are described below.
	Local Provisions:




3.2.2
Option 1: integrated Site Design Practices and Credits
The integrated Site Design Practices are methods of development that reduce the “environmental footprint” of a site. They feature conservation of natural features, reduced imperviousness, and the use of the natural drainage system. In this option, points are awarded for the use of different Site Design Practices. A minimum number of points are needed to meet the iSWM requirements for Water Quality. Additional points can be gained to qualify for development incentives. 
List of integrated Site Design Practices and Techniques

Twenty integrated Site Design Practices are grouped into four categories listed below. Not all practices are applicable to every site.

· Conservation of Natural Features and Resources

1. Preserve Undisturbed Natural Areas

2. Preserve Riparian Buffers

3. Avoid Floodplains

4. Avoid Steep Slopes

5. Minimize Siting on Porous or Erodible Soils

· Lower Impact Site Design Techniques

6. Fit Design to the Terrain

7. Locate Development in Less Sensitive Areas

8. Reduce Limits of Clearing and Grading

9. Utilize Open Space Development

10. Consider Creative Designs

· Reduction of Impervious Cover

11. Reduce Roadway Lengths and Widths

12. Reduce Building Footprints

13. Reduce the Parking Footprint

14. Reduce Setbacks and Frontages

15. Use Fewer or Alternative Cul-de-Sacs

16. Create Parking Lot Stormwater "Islands"

· Utilization of Natural Features for Stormwater Management

17. Use Buffers and Undisturbed Areas

18. Use Natural Drainageways Instead of Storm Sewers

19. Use Vegetated Swale Instead of Curb and Gutter

20. Drain Rooftop Runoff to Pervious Areas

More detail on each site design practice is provided in the integrated Site Design Practice Summary Sheets in Section 2.2 of the Planning Technical Manual.  
	Local Provisions:




Integration of Site Design Practices into Site Development Process
During the site planning process described in Chapter 2, there are several steps involved in site layout and design, each more clearly defining the location and function of the various components of the stormwater management system. To be most effective and easier to incorporate, integrated Site Design Practices should be part of this overall development process as outlined in Table 3.3.
	Table 3.3  Integration of Site Design Practices with Site Development Process

	Site Development Phase
	Site Design Practice Activity

	Site Analysis
	· Identify and delineate natural feature conservation areas (natural areas and stream buffers) 
· Perform site reconnaissance to identify potential areas for and types of credits
· Determine stormwater management requirements

	Conceptual Plan
	· Preserve natural areas and stream buffers during site layout

· Reduce impervious surface area through various techniques

· Identify locations for use of vegetated channels and groundwater recharge

· Look for areas to disconnect impervious surfaces

· Document the use of site design practices

	Preliminary and Final Plan
	· Perform layout and design of credit areas – integrating them into treatment trains

· Ensure integrated Focus Areas are satisfied

· Ensure appropriate documentation of site design credits according to local requirements

	Construction
	· Ensure protection of key areas

· Ensure correct final construction of areas needed for credits
· Inspect and maintain implementation of BMPs during construction

	Final Inspection
	· Develop maintenance requirements and documents

· Ensure long term protection and maintenance

· Ensure credit areas are identified on final plan and plat if applicable


Point System

All sites that meet iSWM applicability must provide on-site enhanced water quality protection. Under the integrated Site Design Practice option, sites that accumulate a minimum number of points by incorporating integrated Site Design Practices are considered to have provided enhanced water quality protection. 
The point system is made up of three components:

1. The initial percentage of the site that has been previously disturbed sets the minimum requirement. This is shown in the left-hand column of Table 3.4.

2. A minimum required total of Water Quality Protection (WQP) points is needed to meet the basic water quality criteria. This minimum is shown in the center column of Table 3.4.

3. Optional additional points can be accumulated through additional use of Site Design Practices to be eligible for developer incentives. Each developer incentive attained requires ten (10) additional Site Design Practice points above the minimum required points as shown in the right-hand column of Table 3.4.

As shown in Table 3.4, the initial percentage of site disturbance sets the minimum required points necessary to meet Water Quality Protection criteria. If a developer wishes to go beyond this minimum then the number of additional points required to attain specific development incentives is also given.

	Table 3.4  integrated Site Design Point Requirements

	Percentage of Site(by Area) with Natural Features Prior to Proposed Development
	Minimum Required Points for Water Quality Protection
(WQP)
	Additional Points Above WQP for Development Incentives

	> 50%
	50
	10 points each

	20 - 50%
	30
	10 points each

	< 20%
	20
	10 points each


The minimum number of points required to achieve WQP, as shown in the center column of Table 3.4, depends on the proportion of undisturbed natural features that exist on the site before it is developed. It is assumed that disturbing a site that has little previously disturbed area will cause more relative environmental impact than a site that has already incurred significant site disturbance. Therefore, disturbing a “pristine” site carries a higher restoration/preservation requirement.

For the purpose of this evaluation, undisturbed natural features are areas with one or more of the following characteristics:

· Unfilled floodplain

· Stand of trees, forests

· Established vegetation

· Steep sloped terrain

· Creeks, gullies, and other natural stormwater features
· Wetland areas and ponds
The number of points credited for the use of integrated Site Design Practices is shown in Table 3.5.  To determine the qualifying points for a site, the developer must reference Table 3.5 and follow the guidance for each practice in the Planning Technical Manual. 
Using the area of the site that is eligible for a practice as a basis, points are given for the percent of that area to which the integrated Site Design Practice is applied. For example, if a planned site has four (4) acres of riparian buffer and the developer proposes to preserve two (2) acres, then the site would qualify for 50 percent of the 8 credit points for iSWM Site Design Practice 2 (Preserve Riparian Buffers), because 50 percent of the site design practice was incorporated. The actual points earned for iSWM Site Design Practice 2 would be 4 points (0.50 * 8 pts = 4 pts).  To comply with water quality protection and to apply for site design credits, the developer must submit the completed table and associated documentation or calculations to the review authority.
	Table 3.5  Point System for integrated Site Design Practices

	iSWM Practice No.
	Practice
	Percent of Eligible Area Using Practice
	Maximum Points
	Actual Points Earned

(% practice used * max. points)

	Conservation of Natural Features and Resources

	1
	Preserve/Create Undisturbed Natural Areas
	
	8
	

	2
	Preserve or Create Riparian Buffers Where Applicable
	
	8
	

	3
	Avoid Existing Floodplains or Provide Dedicated Natural Drainage Easements
	
	8
	

	4
	Avoid Steep Slopes
	
	3
	

	5
	Minimize Site on Porous or Erodible Soils
	
	3
	

	Lower Impact Site Design

	6
	Fit Design to the Terrain
	
	4
	

	7
	Locate Development in Less Sensitive Areas
	
	4
	

	8
	Reduce Limits of Clearing and Grading
	
	6
	

	9
	Utilize Open Space Development
	
	8
	

	10
	Incorporate Creative Design (e.g. Smart Growth, LEED Design, Form Based Zoning)
	
	8
	

	Reduction of Impervious Cover

	11
	Reduce Roadway Lengths and Widths
	
	4
	

	12
	Reduce Building Footprints
	
	4
	

	13
	Reduce the Parking Footprint
	
	5
	

	14
	Reduce Setbacks and Frontages
	
	4
	

	15
	Use Fewer or Alternative Cul-de-Sacs
	
	3
	

	16
	Create Parking Lot Stormwater “Islands”
	
	5
	

	Utilization of Natural Features

	17
	Use Buffers and Undisturbed Areas
	
	4
	

	18
	Use Natural Drainageways Instead of Storm Sewers
	
	4
	

	19
	Use Vegetated Swale Design
	
	3
	

	20
	Drain Runoff to Pervious Areas
	
	4
	

	Subtotal – Actual site points earned
	100
	

	Subtract minimum points required (Table 3.4)     -
	

	Points available for development incentives
	

	Add 1 point for each 1% reduction of impervious surface     +
	

	Total Points for Development Incentives
	


	Local Provisions:




Development Incentives

The developer can use integrated Site Design Practice points in excess of the minimum required for water quality protection to qualify for development incentives provided by the municipality.  Additional points can be earned for redevelopment sites.  Each reduction of one (1) percent imperviousness from existing conditions qualifies for one (1) site design point.  The total points available for development incentives shall be calculated per Table 3.5.  Each incentive requires ten (10) additional points above the minimum point required to meet water quality criteria, as stated in Table 3.4.
A list of available development incentives includes:

1. Narrower pavement width for minor arterials

2. Use of vegetated swales in lieu of curb and gutter for eligible developments

3. Reduced ROW requirements, i.e. Sidewalk/Utility Easements

4. Increased density in buildable area, floor area ratios, or additional units in buildable area

5. Expedited Plans review and inspection

6. Waiver or reduction of fees

7. Local government public-private partnerships

8. Waiver of maintenance, public maintenance

9. Stormwater user fee credits or discounts

10. Rebates, local grants, reverse auctions

11. Low interest loans, subsidies, tax credits, or financing of special green projects

12. Awards and recognition programs

13. Reductions in other requirements
	Local Provisions:




3.2.3
Option 2: Treat the Water Quality Protection Volume

Treat the Water Quality Protection Volume by reducing total suspended solids from the development site for runoff resulting from rainfall of 1.5 inches (85th percentile storm).  Stormwater runoff equal to the Water Quality Protection Volume generated from sites must be treated using a variety of on-site structural and nonstructural techniques with the goal of removing a target percentage of the average annual total suspended solids. 

A system has been developed by which the Water Quality Protection Volume can be reduced, thus requiring less structural control. This is accomplished through the use of certain reduction methods, where affected areas are deducted from the site area, thereby reducing the amount of runoff to be treated.  For more information on the Water Quality Volume Reduction Methods see Section 1.3 of the Water Quality Technical Manual.
Water Quality Protection Volume

The Water Quality Protection Volume (WQv) is the runoff from the first 1.5 inches of rainfall.  Thus, a stormwater management system designed for the WQv will treat the runoff from all storm events of 1.5 inches or less, as well as a portion of the runoff for all larger storm events.  For methods to determine the WQv, see Section 1.2 of the Water Quality Technical Manual.
	Local Provisions:




Recommended Stormwater Control Practices

Below is a list of recommended structural stormwater control practices.  These structural controls are recommended for use in a wide variety of applications and have differing abilities to remove various kinds of pollutants.  It may take more than one control to achieve a certain pollution reduction level. A detailed discussion of each of the controls, as well as design criteria and procedures, can be found in the Site Development Controls Technical Manual. Refer to Table 3.6 for details regarding primary and secondary controls.
	· Bioretention 

· Enhanced swales (dry, wet, wetland)

· Alum treatment

· Detention

· Filter strips
· Sand filters, filter boxes, etc 

· Infiltration wells and trenches
	· Ponds

· Porous surfaces

· Proprietary systems

· Green roofs

· Rainwater harvesting

· Wetlands

· Submerged gravel wetlands 


	Local Provisions:




Using Other or New Structural Stormwater Controls

Innovative technologies will be allowed and encouraged.  Any such system will be required to provide sufficient documentation as to its effectiveness and reliability.  Communities can allow controls not included in this manual at their discretion.  However, these communities shall require third party proof of performance, maintenance, application requirements, and limitations.
More specifically, new structural stormwater control designs will not be accepted for inclusion in the manual until independent performance data shows that the structural control conforms to local and/or State criteria for treatment, conveyance, maintenance, and environmental impact.

Suitability of Stormwater Controls to Meet Stormwater Management Goals
The stormwater control practices recommended in this manual vary in their applicability and ability to meet stormwater management goals:
Primary Controls

Primary Structural Stormwater Controls have the ability to fully address one or more of the Steps in the integrated Focus Areas if designed appropriately.  Structural controls are recommended for use with a wide variety of land uses and development types.  These structural controls have a demonstrated ability to effectively treat the Water Quality Volume (WQv) and have been shown to be able to remove 70% to 80% of the annual average total suspended solids (TSS) load in typical post-development urban runoff when designed, constructed, and maintained in accordance with recommended specifications.  Several of these structural controls can also be designed to provide primary control for downstream streambank protection (SPv) and flood mitigation.  These structural controls are recommended stormwater management facilities for a site wherever feasible and practical.

Secondary Controls

A number of structural controls are recommended only for limited use or for special site or design conditions.  Generally, these practices either: (1) do not have the ability on their own to fully address one or more of the Steps in the integrated Focus Areas, (2) are intended to address hotspot or specific land use constraints or conditions, and/or (3) may have high or special maintenance requirements that may preclude their use.  These types of structural controls are typically used for water quality treatment only.  Some of these controls can be used as pretreatment measures or in series with other structural controls to meet pollutant removal goals.  Such structural controls are not recommended for residential developments.
Table 3.6 summarizes the stormwater management suitability of the various stormwater controls in addressing the integrated Focus Areas. The Site Development Controls Technical Manual provides guidance on the use of stormwater controls as well as how to calculate the pollutant removal efficiency for stormwater controls in series.  The Site Development Controls Technical Manual also provides guidance for choosing the appropriate stormwater control(s) for a site as well as the basic considerations and limitations on the use of a particular stormwater control.
	Table 3.6  Suitability of Stormwater Controls to Meet integrated Focus Areas

	Category
	integrated Stormwater
Controls
	TSS/ Sediment Removal Rate
	Water Quality Protection
	Streambank
Protection 
	On-Site

Flood Control 
	Downstream
Flood
Control 

	Bioretention Areas
	Bioretention Areas
	80%
	P
	S
	S
	-

	Channels
	Enhanced Swales
	80%
	P
	S
	S
	S

	
	Channels, Grass
	50%
	S
	S
	P
	S

	
	Channels, Open
	-
	-
	-
	P
	S

	Chemical Treatment
	Alum Treatment System
	90%
	P
	-
	-
	-

	Conveyance System Components
	Culverts
	-
	-
	-
	P
	P

	
	Energy Dissipation
	-
	-
	P
	S
	S

	
	Inlets/Street Gutters
	-
	-
	-
	P
	-

	
	Pipe Systems
	-
	-
	P
	P
	P

	Detention
	Detention, Dry
	65%
	S
	P
	P
	P

	
	Detention, Extended Dry
	65%
	S
	P
	P
	P

	
	Detention, Multi-purpose Areas
	-
	-
	P
	P
	P

	
	Detention, Underground
	-
	-
	P
	P
	P

	Filtration
	Filter Strips
	50%
	S
	-
	-
	-

	
	Organic Filters
	80%
	P
	-
	-
	-

	
	Planter Boxes
	80%
	P
	-
	-
	-

	
	Sand Filters, Surface/Perimeter
	80%
	P
	S
	-
	-

	
	Sand Filters, Underground
	80%
	P
	-
	-
	-

	Hydrodynamic Devices
	Gravity (Oil-Grit) Separator
	40%
	S
	-
	-
	-

	Infiltration
	Downspout Drywell
	80%
	P
	-
	-
	-

	
	Infiltration Trenches
	80%
	P
	S
	-
	-

	
	Soakage Trenches
	80%
	P
	S
	-
	-

	Ponds
	Wet Pond
	80%
	P
	P
	P
	P

	
	Wet ED Pond
	80%
	P
	P
	P
	P

	
	Micropool ED Pond
	80%
	P
	P
	P
	P

	
	Multiple Ponds
	80%
	P
	P
	P
	P

	Porous Surfaces
	Green Roof
	85%
	P
	S
	-
	-

	
	Modular Porous Paver Systems
	2
	S
	S
	-
	-

	
	Porous Concrete
	2
	S
	S
	-
	-

	Proprietary Systems
	Proprietary Systems 1
	1
	S/P
	S
	S
	S

	Re-Use
	Rain Barrels
	-
	P
	-
	-
	-

	Wetlands
	Wetlands, Stormwater
	80%
	P
	P
	P
	P

	
	Wetlands, Submerged Gravel
	80%
	P
	P
	S
	-


P
=
Primary Control:  Able to meet design criterion if properly designed, constructed and maintained.

S
=
Secondary Control:  May partially meet design criteria.  Designated as a Secondary control due to considerations such as maintenance concerns.  For Water Quality Protection, recommended for limited use in approved community-designated areas.

-
=
Not typically used or able to meet design criterion.

1
=
The application and performance of proprietary commercial devices and systems must be provided by the manufacturer and should be verified by independent third-party sources and data, if used as a primary control.  Third-party sources could include Technology Acceptance Reciprocity Partnership, Technology Assessment Protocol – Ecology, or others.
2
=
Porous surfaces provide water quality benefits by reducing the effective impervious area.
3.2.4
Option 3: Assist with Off-Site Pollution Prevention Programs and Activities

Some communities have implemented pollution prevention programs/activities in certain areas to remove pollutants from the runoff after it has been discharged from the site.  This may be especially true in intensely urbanized areas facing site redevelopment where many of the BMP criteria would be difficult to apply.  These programs will be identified in the local jurisdiction’s approved TPDES stormwater permit and/or in a municipality’s approved watershed plan.  In lieu of on-site treatment, the developer can request to simply assist with the implementation of these off-site pollution prevention programs/activities.

Developers should contact the municipality to determine if there are any plans to address runoff pollutants within the region of proposed development. If no plans exist, consider proposing regional alternatives that would address pollution prevention.
	Local Provisions:




3.3 
Acceptable Downstream Conditions

As part of the iSWM Plan development, the downstream impacts of development must be carefully evaluated for the two focus areas of Streambank Protection and Flood Mitigation.  The purpose of the downstream assessment is to protect downstream properties from increased flooding and downstream channels from increased erosion potential due to upstream development.  The importance of the downstream assessment is particularly evident for larger sites or developments that have the potential to dramatically impact downstream areas.  The cumulative effect of smaller sites, however, can be just as dramatic and, as such, following the integrated Focus Areas is just as important for the smaller sites as it is for the larger sites.

The assessment shall extend from the outfall of a proposed development to a point downstream where the discharge from a proposed development no longer has a significant impact, in terms of flooding increase or velocity above allowable, on the receiving stream or storm drainage system.  The local jurisdiction shall be consulted to obtain records and maps related to the National Flood Insurance Program and the availability of Flood Insurance Studies and Flood Insurance Rate Maps (FIRMs) which will be helpful in this assessment. The assessment shall be a part of the preliminary and final iSWM plans, and must include the following properties:

· Hydrologic analysis of the pre- and post-development on-site conditions

· Drainage path that defines extent of the analysis
· Capacity analysis of all existing constraint points along the drainage path, such as existing floodplain developments, underground storm drainage systems culverts, bridges, tributary confluences, or channels 

· Offsite undeveloped areas are considered as “full build-out” for both the pre- and post-development analyses

· Evaluation of peak discharges and velocities for three 24-hour storm events

· Streambank protection storm
· Conveyance storm

· Flood mitigation storm

· Separate analysis for each major outfall from the proposed development

Once the analysis is complete, the designer must answer the following three questions at each determined junction downstream:

· Are the post-development discharges greater than the pre-development discharges?

· Are the post-development velocities greater than the pre-development velocities?

· Are the post-development velocities greater than the velocities allowed for the receiving system?
· Are the post-development flood heights more than 0.1 feet above the pre-development flood heights? 
These questions shall be answered for each of the three storm events.  The answers to these questions will determine the necessity, type, and size of non-structural and structural controls to be placed on-site or downstream of the proposed development.  
Section 2.0 of the Hydrology Technical Manual gives additional guidance on calculating the discharges and velocities, as well as determining the downstream extent of the assessment.
	Local Provisions:




3.4 Streambank Protection

The second focus area is in streambank protection. There are three options by which a developer can provide adequate streambank protection downstream of a proposed development. The first step is to perform the required downstream assessment as described in Section 3.3. If it is determined that the proposed project does not exceed acceptable downstream velocities or the downstream conditions are improved to adequately handle the increased velocity, then no additional streambank protection is required. If on-site or downstream improvements are required for streambank protection, easements or right-of-entry agreements will need to be obtained in accordance with Section 3.7. If the downstream assessment shows that the velocities are within acceptable limits, then no streambank protection is required. Acceptable limits for velocity control are contained in Tables 3.10 and 3.11.
Option 1: Reinforce/Stabilize Downstream Conditions
If the increased velocities are greater than the allowable velocity of the downstream receiving system, then the developer must reinforce/stabilize the downstream conveyance system.  The proposed modifications must be designed so that the downstream system is protected from the post-development velocities.  The developer must provide supporting calculations and/or documentation that the downstream velocities do not exceed the allowable range once the downstream modifications are installed. 
Allowable bank protection methods include stone riprap, gabions, and bio-engineered methods. Sections 3.2 and 4.0 of the Hydraulics Technical Manual give design guidance for designing stone riprap for open channels, culvert outfall protection, riprap aprons for erosion protection at outfalls, and riprap basins for energy dissipation.
	Local Provisions:




Option 2: Install Stormwater Controls to Maintain Existing Downstream Conditions

The developer must use on-site controls to keep downstream post-development discharges at or below allowable velocity limits. The developer must provide supporting calculations and/or documentation that the on-site controls will be designed such that downstream velocities for the three storm events (Streambank Protection, Conveyance, and Flood Mitigation) are within an allowable range once the controls are installed. 
	Local Provisions:




Option 3: Control the Release of the 1-yr, 24-hour Storm Event

Twenty-four hours of extended detention shall be provided for on-site, post-developed runoff generated by the 1-year, 24-hour rainfall event to protect downstream channels.  The required volume for extended detention is referred to as the Streambank Protection Volume (denoted SPv).  The reduction in the frequency and duration of bankfull flows through the controlled release provided by extended detention of the SPv will reduce the bank scour rate and severity.
To determine the SPv refer to Section 3.0 of the Hydrology Technical Manual. 
	Local Provisions:




3.5 Flood Mitigation
3.5.1 
Introduction

Flood analysis is based on the design storm events as defined in Section 1.3: for conveyance storm and the flood mitigation storm.
The intent of the flood mitigation criteria is to provide for public safety; minimize on-site and downstream flood impacts from the three storm events; maintain the boundaries of the mapped 100-year floodplain; and protect the physical integrity of the on-site stormwater controls and the downstream stormwater and flood mitigation facilities.

Flood mitigation must be provided for on-site conveyance system, as well as downstream outfalls as described in the following sections.
3.5.2
Flood Mitigation Design Options

There are three options by which a developer may address downstream flood mitigation.  These options closely follow the three options for Streambank Protection. When on-site or downstream modifications are required for downstream flood mitigation, easements or right-of-entry agreements will need to be obtained in accordance with Section 3.7.  
The developer will provide all supporting calculations and/or documentation to show that the existing downstream conveyance system has capacity (Qf) to safely pass the full build-out flood mitigation storm discharge.
Option 1:  Provide Adequate Downstream Conveyance Systems

When the downstream receiving system does not have adequate capacity, then the developer shall provide modifications to the off-site, downstream conveyance system.  If this option is chosen the proposed modifications must be designed to adequately convey the full build-out stormwater peak discharges for the three storm events.  The modifications must also extend to the point at which the discharge from the proposed development no longer has a significant impact on the receiving stream or storm drainage system.  The developer must provide supporting calculations and/or documentation that the downstream peak discharges and water surface elevations are safely conveyed by the proposed system, without endangering downstream properties, structures, bridges, roadways, or other facilities.

Option 2:  Install Stormwater Controls to Maintain Existing Downstream Conditions

When the downstream receiving system does not have adequate capacity, then the developer shall provide stormwater controls to reduce downstream flood impacts.  These controls include on-site controls such as detention, regional controls, and, as a last resort, local flood protection such as levees, floodwalls, floodproofing, etc. 
The developer must provide supporting calculations and/or documentation that the controls will be designed and constructed so that there is no increase in downstream peak discharges or water surface elevations due to development.

Option 3:  In lieu of a Downstream Assessment, Maintain Existing On-Site Runoff Conditions

Lastly with Option 3, on-site controls shall be used to maintain the pre-development peak discharges from the site.  The developer must provide supporting calculations and/or documentation that the on-site controls will be designed and constructed to maintain on-site existing conditions.

It is important to note that Option 3 does not require a downstream assessment.  It is a detention-based approach to addressing downstream flood mitigation after the application of the integrated site design practices.  
For many developments however, the results of a downstream assessment may show that significantly less flood mitigation is required than “detaining to pre-development conditions”. This method may also exacerbate downstream flooding problems due to timing of flows.  The developer shall confirm that detention does not exacerbate peak flows in downstream reaches.
3.6 Stormwater Conveyance Systems
3.6.1
Introduction

Stormwater system design is an integral component of both site and overall stormwater management design.  Good drainage design must strive to maintain compatibility and minimize interference with existing drainage patterns; control flooding of property, structures, and roadways for design flood events; and minimize potential environmental impacts on stormwater runoff.

Stormwater collection systems must be designed to provide adequate surface drainage while at the same time meeting other stormwater management goals such as water quality, streambank protection, habitat protection, and flood mitigation.

Design

Fully developed watershed conditions shall be used for determining runoff for the conveyance storm and the flood mitigation storm.
	Local Provisions:




3.6.2
Hydraulic Design Criteria for Streets and Closed Conduits
Introduction

This section is intended to provide criteria and guidance for the design of on-site flood mitigation system components including:

· Street and roadway gutters

· Stormwater inlets
· Parking lot sheet flow
· Storm drain pipe systems

Streets and Stormwater Inlets

Design Frequency

· Streets and roadway gutters: conveyance storm event 

· Inlets on-grade: conveyance storm event

· Parking lots: conveyance storm event

· Storm drain pipe systems: conveyance storm event

· Low points: flood mitigation storm event
· Street ROW: flood mitigation storm event
· Drainage and Floodplain easements: flood mitigation storm event
	Local Provisions:




Design Criteria

Streets and ROW

Depth in the street shall not exceed top of curb or maximum flow spread limits for the conveyance storm. The flood mitigation storm shall be contained within the right-of-ways or easements.

Parking Lots
Parking lots shall be designed for the conveyance storm not to exceed top of curb with maximum ponding at low points of one (1) foot. The flood mitigation storm shall be contained on-site or within dedicated easements.
Flow Spread Limits
Inlets shall be spaced so that the spread of flow in the street for the conveyance storm shall not exceed the guidelines listed below, as measured from the gutter or face of the curb:
	Table 3.7  Flow Spread Limits

	Street Classification
	Allowable Encroachment

	Collectors, Arterial, and Thoroughfares (greater than 2-lanes)
	· 8 feet or one travel lane, both sides for a divided roadway

	Residential Streets
	· curb depth or maximum 6 inches at gutter


	Local Provisions:




Storm Drain Pipe Design

Design Frequency

· Pipe Design: conveyance storm event within pipe with hydraulic grade line (HGL) below throat of inlets
· ROW and Easements: flood mitigation storm event must be contained within the ROW or easement
	Local Provisions:




Design Criteria

· For ordinary conditions, storm drain pipes shall be sized on the assumption that they will flow full or practically full under the design discharge but will not be placed under pressure head.  The Manning Formula is recommended for capacity calculations.

· The maximum hydraulic gradient shall not produce a velocity that exceeds 15 feet per second (fps).  Table 3.8 shows the desirable velocities for most storm drainage design. Storm drains shall be designed to have a minimum mean velocity flowing full at 2.5 fps.

	Table 3.8  Desirable Velocity in Storm Drains 

	Description
	Maximum Desirable Velocity

	Culverts (All types) 
	15 fps 

	Storm Drains (Inlet laterals) 
	No Limit 

	Storm Drains (Collectors) 
	15 fps 

	Storm Drains (Mains) 
	12 fps 


· The minimum desirable physical slope shall be 0.5% or the slope that will produce a velocity of 2.5 feet per second when the storm sewer is flowing full, whichever is greater. 
· If the potential water surface elevation exceeds 1 foot below ground elevation for the design flow, the top of the pipe, or the gutter flow line, whichever is lowest, adjustments are needed in the system to reduce the elevation of the hydraulic grade line.

· Access manholes are required at intermediate points along straight runs of closed conduits.  Table 3.9 gives maximum spacing criteria.
	Table 3.9  Access Manhole Spacing Criteria 

(HEC 22, 2001)

	Pipe Size (inches)
	Maximum Spacing (feet)

	12-24
	300

	27-36
	400

	42-54
	500

	60 and up
	1000


	Local Provisions:




3.6.3
Hydraulic Design Criteria for Structures
Introduction

This section is intended to provide design criteria and guidance on several on-site flood mitigation system components, including culverts, bridges, vegetated and lined open channels, storage design, outlet structures, and energy dissipation devices for outlet protection. 
Open Channels

Design Frequency
· Open channels, including all natural or structural channels, swales, and ditches shall be designed for the flood mitigation storm event
· Channels shall be designed with multiple stages. A low flow channel section containing the 
streambank protection flows and a high flow section that contains the conveyance and flood mitigation storms will improve stability and better mimic natural channel dimensions.
	Local Provisions:




Design Criteria

· Trapezoidal channels shall have a minimum channel bottom width of 6 feet.

· Channels with bottom widths greater than 6 feet shall be designed with a minimum bottom cross slope of 12 to 1 or with compound cross sections.

· Channel side slopes shall be stable throughout the entire length and the side slope shall depend on the channel material.  Channel side slopes and roadside ditches with a side slope steeper than 3:1 shall require detailed geotechnical and slope stability analysis to justify slopes steeper than 3:1.  However, any slope that is less than 3:1 needs a detailed analysis to prove that it can be done.
· Trapezoidal or parabolic cross sections are preferred over triangular shapes.

· For vegetative channels, design stability shall be determined using low vegetative retardance conditions (Class D).  For design capacity, higher vegetative retardance conditions (Class C) shall be used. 

· For vegetative channels, flow velocities within the channel shall not exceed the maximum permissible velocities given in Tables 3.10 and 3.11.
· If relocation of a stream channel is unavoidable, the cross-sectional shape, meander, pattern, roughness, sediment transport, and slope shall conform to the existing conditions insofar as practicable.  Energy dissipation will be necessary when existing conditions cannot be duplicated.

· Streambank stabilization shall be provided, when appropriate, as a result of any stream disturbance such as encroachment and shall include both up​stream and downstream banks as well as the local site.

· HEC-RAS, or similarly capable software approved by the entity with jurisdiction, shall be used to confirm the water surface profiles in open channels.
· The final design of artificial open channels shall be consistent with the velocity limitations for the selected channel lining.  Maximum velocity values for selected lining categories are presented in Table 3.10.  Seeding and mulch shall only be used when the design value does not exceed the allowable value for bare soil.  Velocity limitations for vegetative linings are reported in Table 3.11.  Vegetative lining calculations and stone riprap procedures are presented in Section 3.2 of the Hydraulics Technical Manual.

For gabions, design velocities range from 10 fps for 6-inch mattresses up to 15 fps for 1-foot mattresses.  Some manufacturers indicate that velocities of 20 fps are allowable for basket installations.  The design of stable rock riprap lining depends on the intersection of the velocity (local boundary shear) and the size and gradation of the riprap material. More information on calculating acceptable riprap velocity limits is available in Section 3.2.7 of the Hydraulics Technical Manual.
	Local Provisions:




	Table 3.10  Roughness Coefficients (Manning’s n) and Allowable Velocities for Natural Channels

	Channel Description
	Manning’s n
	Max. Permissible Channel Velocity (ft/s)

	MINOR NATURAL STREAMS
	
	

	
Fairly regular section
	
	

	

1. Some grass and weeds, little or no brush
	0.030
	3 to 6

	

2. Dense growth of weeds, depth of flow materially greater than weed height
	0.035
	3 to 6

	

3. Some weeds, light brush on banks
	0.035
	3 to 6

	

4. Some weeds, heavy brush on banks
	0.050
	3 to 6

	

5. Some weeds, dense willows on banks
	0.060
	3 to 6

	
For trees within channels with branches submerged at high stage, increase above values by
	0.010
	

	
Irregular section with pools, slight channel meander, increase above values by
	0.010
	

	
Floodplain – Pasture
	
	

	

1. Short grass
	0.030
	3 to 6

	

2. Tall grass
	0.035
	3 to 6

	
Floodplain – Cultivated Areas
	
	

	

1. No crop
	0.030
	3 to 6

	

2. Mature row crops
	0.035
	3 to 6

	

3. Mature field crops
	0.040
	3 to 6

	
Floodplain – Uncleared
	
	

	

1. Heavy weeds scattered brush
	0.050
	3 to 6

	

2. Wooded
	0.120
	3 to 6

	MAJOR NATURAL STREAMS
	
	

	
Roughness coefficient is usually less than for minor streams of similar description on account of less effective resistance offered by irregular banks or vegetation on banks.  Values of “n” for larger streams of mostly regular sections, with no boulders or brush
	Range from 0.028 to 0.060
	3 to 6

	UNLINED VEGETATED CHANNELS
	
	

	
Clays (Bermuda Grass)
	0.035
	5 to 6

	
Sandy and Silty Soils (Bermuda Grass)
	0.035
	3 to 5

	UNLINED NON-VEGETATED CHANNELS
	
	

	
Sandy Soils
	0.030
	1.5 to 2.5

	
Silts
	0.030
	0.7 to 1.5

	
Sandy Silts
	0.030
	2.5 to 3.0

	
Clays
	0.030
	3.0 to 5.0

	
Coarse Gravels
	0.030
	5.0 to 6.0

	
Shale
	0.030
	6.0 to 10.0

	
Rock
	0.025
	15

	For natural channels with specific vegetation type, refer to Table 3.11 for more detailed velocity control.


	Table 3.11  Maximum Velocities for Vegetative Channel Linings

	Vegetation Type
	Slope Range (%)1
	Maximum Velocity2 (ft/s)

	Bermuda grass
	0-5
	6

	Bahia
	
	4

	Tall fescue grass mixtures3
	0-10
	4

	Kentucky bluegrass
	0-5
	6

	Buffalo grass
	5-10

>10
	5

4

	Grass mixture
	0-51

5-10
	4

3

	Sericea lespedeza, Weeping lovegrass, Alfalfa
	0-54
	3

	Annuals5
	0-5
	3

	Sod
	
	4

	Lapped sod
	
	5

	1 Do not use on slopes steeper than 10% except for side-slope in combination channel.

2 Use velocities exceeding 5 ft/s only where good stands can be maintained.

3 Mixtures of Tall Fescue, Bahia, and/or Bermuda

4 Do not use on slopes steeper than 5% except for side-slope in combination channel.

5 Annuals - used on mild slopes or as temporary protection until permanent covers are established.

	Source:  Manual for Erosion and Sediment Control in Georgia, 1996.


Vegetative Design

· A two-part procedure is required for final design of temporary and vegetative channel linings.  
· Part 1, the design stability component, involves determining channel dimensions for low vegetative retardance conditions, using Class D as defined in Table 3.12.  
· Part 2, the design capacity component, involves determining the depth increase necessary to maintain capacity for higher vegetative retardance conditions, using Class C as defined in Table 3.12.
If temporary lining is to be used during construction, vegetative retardance Class E shall be used for the design stability calculations.

· If the channel slope exceeds 10%, or a combination of channel linings will be used, additional procedures not presented below are required.  References include HEC-15 (USDOT, FHWA, 1986) and HEC-14 (USDOT, FHWA, 1983). 
	Local Provisions:




	Table 3.12  Classification of Vegetal Covers as to Degrees of Retardance

	Retardance Class
	Cover
	Condition

	A
	Weeping Lovegrass
	Excellent stand, tall (average 30")

	
	Yellow Bluestem Ischaemum
	Excellent stand, tall (average 36")

	B
	Kudzu
	Very dense growth, uncut

	
	Bermuda grass
	Good stand, tall (average 12”)

	
	Native grass mixture


Little bluestem, bluestem, blue gamma other short and long stem Midwest grasses
	Good stand, unmowed

	
	Weeping lovegrass
	Good stand, tall (average 24”)

	
	Laspedeza sericea
	Good stand, not woody, tall (average 19”)

	
	Alfalfa
	Good stand, uncut (average 11”)

	
	Weeping lovegrass
	Good stand, unmowed (average 13”)

	
	Kudzu
	Dense growth, uncut

	
	Blue gamma
	Good stand, uncut (average 13”)

	C
	Crabgrass
	Fair stand, uncut (10 – 48”)

	
	Bermuda grass
	Good stand, mowed (average 6”)

	
	Common lespedeza
	Good stand, uncut (average 11”)

	
	Grass-legume mixture:


summer (orchard grass redtop, Italian ryegrass, and common lespedeza)
	Good stand, uncut (6 – 8 “)

	
	Centipede grass
	Very dense cover (average 6”)

	
	Kentucky bluegrass
	Good stand, headed (6 – 12”)

	D
	Bermuda grass
	Good stand, cut to 2.5”

	
	Common lespedeza
	Excellent stand, uncut (average 4.5”)

	
	Buffalo grass
	Good stand, uncut (3 – 6”)

	
	Grass-legume mixture:


fall, spring (orchard grass, redtop, Italian ryegrass, and common lespedeza)
	Good stand, uncut (4 – 5”)

	
	Lespedeza serices
	After cutting to 2” (very good before cutting)

	E
	Bermuda grass
	Good stand, cut to 1.5”

	
	Bermuda grass
	Burned stubble

	Note:  Covers classified have been tested in experimental channels.  Covers were green and generally uniform.

Source:  HEC-15, 1988.


Culverts
Design Frequency
Culverts are cross drainage facilities that transport runoff under roadways or other improved areas.

· Culverts shall be designed for the flood mitigation storm or in accordance with TxDOT requirements, whichever is more stringent.  Consideration when designing culverts includes:  roadway type, tailwater or depth of flow, structures, and property subject to flooding, emergency access, and road replacement costs.
· The flood mitigation storm shall be routed through all culverts to be sure building structures (e.g., houses, commercial buildings) are not flooded or increased damage does not occur to the highway or adjacent property for this design event.
	Local Provisions:




Design Criteria

Velocity Limitations

· The maximum velocity shall be consistent with channel stability requirements at the culvert outlet.  
· The maximum allowable velocity for corrugated metal pipe is 15 feet per second.  There is no specified maximum allowable velocity for reinforced concrete pipe, but outlet protection shall be provided where discharge velocities will cause erosion conditions.  
· To ensure self-cleaning during partial depth flow, a minimum velocity of 2.5 feet per second is required for the streambank protection storm when the culvert is flowing partially full.
Length and Slope

· The maximum slope using concrete pipe is 10% and for CMP is 14% before pipe-restraining methods must be taken.  
· Maximum vertical distance from throat of intake to flowline in a drainage structure is 10 feet.  
· Drops greater than 4 feet will require additional structural design.
Headwater Limitations

· The allowable headwater is the depth of water that can be ponded at the upstream end of the culvert during the design flood, which will be limited by one or more of the following constraints or conditions:

1. Headwater will be non-damaging to upstream property.
2. Culvert headwater plus 12 inches of freeboard shall not exceed top of curb or pavement for low point of road over culvert, whichever is lower.
3. Ponding depth will be no greater than the elevation where flow diverts around the culvert.
4. Elevations will be established to delineate floodplain zoning.
· The headwater shall be checked for the flood mitigation storm elevation to ensure compliance with flood plain management criteria and the culvert shall be sized to maintain flood-free conditions on major thoroughfares with 12-inch freeboard at the low-point of the road.

· Either the headwater shall be set to produce acceptable velocities or stabilization/energy dissipation shall be provided where these velocities are exceeded.

· In general, the constraint that gives the lowest allowable headwater elevation establishes the criteria for the hydraulic calculations.

Tailwater Considerations

· If the culvert outlet is operating with a free outfall, the critical depth and equivalent hydraulic grade line shall be determined. 

· For culverts that discharge to an open channel, the stage-discharge curve for the channel must be determined.  See Section 2.1.4 of the Hydraulics Technical Manual on methods to determine a stage-discharge curve. 
· If an upstream culvert outlet is located near a downstream culvert inlet, the headwater elevation of the downstream culvert will establish the design tailwater depth for the upstream culvert.

· If the culvert discharges to a lake, pond, or other major water body, the expected high water elevation of the particular water body will establish the culvert tailwater.

Other Criteria

· In designing debris control structures, the Hydraulic Engineering Circular No. 9 entitled Debris Control Structures or other approved reference is required to be used. 

· If storage is being assumed or will occur upstream of the culvert, refer to Section 2.0 of the Hydraulics Technical Manual regarding storage routing as part of the culvert design.

· Reinforced concrete pipe (RCP), pre-cast and cast in place concrete boxes are recommended for use (1) under a roadway, (2) when pipe slopes are less than 1%, or (3) for all flowing streams.  RCP and fully coated corrugated metal pipe or high-density polyethylene (HDPE) pipe may also be used in open space areas.
· Culvert skews shall not exceed 45 degrees as measured from a line perpendicular to the roadway centerline without approval.

· The minimum allowable pipe diameter shall be 18 inches.

· Erosion, sediment control, and velocity dissipation shall be designed in accordance with Section 4.0 of the Hydraulics Technical Manual.
	Local Provisions:




Bridges

Design Frequency
Bridges are cross drainage facilities with a span of 20 feet or larger.

· Flood mitigation storm for all bridges
	Local Provisions:




Design Criteria

· A freeboard of two feet shall be maintained between the computed design water surface and the low chord of all bridges. 

· The contraction and expansion of water through the bridge opening creates hydraulic losses.  These losses are accounted for through the use of loss coefficients.  Table 3.13 gives recommended values for the Contraction (Kc) and Expansion (Ke) Coefficients.
	Table 3.13  Recommended Loss Coefficients for Bridges

	Transition Type
	Contraction (Kc)
	Expansion (Ke)

	No losses computed
	0.0
	0.0

	Gradual transition
	0.1
	0.3

	Typical bridge
	0.3
	0.5

	Severe transition
	0.6
	0.8


Additional design guidance is located in Section 3.4 of the Hydraulics Technical Manual.
	Local Provisions:




Detention Structures

Design Frequency
Detention structures shall be designed for the three storms (streambank protection, conveyance, and flood mitigation storms) for the critical storm duration that results in the maximum (or near maximum) peak flow.

	Local Provisions:




Design Criteria
· Dry detention basins are sized to temporarily store the volume of runoff required to provide flood protection up to the flood mitigation storm, if required.

· Extended detention dry basins are sized to provide extended detention of the streambank protection volume over 24 hours and can also provide additional storage volume for normal detention (peak flow reduction) of the flood mitigation storm event.  

· Routing calculations must be used to demonstrate that the storage volume and outlet structure configuration are adequate.  See Section 2.0 of the Hydraulics Technical Manual for procedures on the design of detention storage.

· Detention Basins shall be designed with an 8 foot wide maintenance access.
· No earthen (grassed) embankment slopes shall exceed 4:1. 
· A freeboard of 1 foot will be required for all detention ponds.
· A calculation summary shall be provided on construction plans. For detailed calculations of unit hydrograph studies, a separate report shall be provided to the municipality for review and referenced on the construction plans. Stage-storage-discharge values shall be tabulated and flow calculations for discharge structures shall be shown on the construction plans.

· An emergency spillway shall be provided at the flood mitigation maximum storage elevation with sufficient capacity to convey the flood mitigation storm assuming blockage of the outlet works with six inches of freeboard. Spillway requirements must also meet all appropriate state and Federal criteria.
· A landscape plan shall be provided for all detention ponds.
· All detention basins shall be stabilized against significant erosion and include a maintenance plan.

· Design calculations will be provided for all spillways and outlet structures.

· Maintenance agreements shall be included for all detention structures.
· Storage may be subject to the requirements of the Texas Dam Safety Program (see iSWM Program Guidance) based on the volume, dam height, and level of hazard.

· Earthen embankments 6 feet in height or greater shall be designed per Texas Commission on Environmental Quality guidelines for dam safety (see iSWM Program Guidance).

· Vegetated slopes shall be less than 20 feet in height and shall have side slopes no steeper than 2:1 (horizontal to vertical) although 3:1 is preferred.  Riprap-protected slopes shall be no steeper than 2:1.  Geotechnical slope stability analysis is recommended for slopes greater than 10 feet in height. Vegetated slopes with a side slope steeper than 2:1 shall require detailed geotechnical and slope stability analysis to justify slopes steeper than 2:1.  
· Areas above the normal high water elevations of the detention facility should be sloped toward the basin to allow drainage and to prevent standing water.  Careful finish grading is required to avoid creation of upland surface depressions that may retain runoff.  The bottom area of stor​age facilities should be graded toward the outlet to pre​vent standing water condi​tions.  A low flow or pilot channel across the facility bottom from the inlet to the outlet (often constructed with riprap) is recommended to convey low flows and prevent standing water conditions.

	Local Provisions:




Outlet Structures

Extended detention (ED) orifice sizing is required in design applications that provide extended detention for downstream streambank protection or the ED portion of the water quality protection volume.  The release rate for both the WQv and SPv shall discharge the ED volume in a period of 24 hours or longer.  In both cases an extended detention orifice or reverse slope pipe must be used for the outlet.  For a structural control facility providing both WQv extended detention and SPv control (wet ED pond, micropool ED pond, and shallow ED wetland), there will be a need to design two outlet orifices – one for the water quality control outlet and one for the streambank protection drawdown.
Design Frequency
Water quality storm

Streambank protection storm

Conveyance storm

Flood mitigation storm
	Local Provisions:




Design Criteria
· Estimate the required storage volumes for water quality protection, streambank protection, conveyance storm, and flood mitigation.

· Design extended detention outlets for each storm event.

· Outlet velocities shall be within the maximum allowable range based on channel material as shown in Tables 3.10 and 3.11.

· Design necessary outlet protection and energy dissipation facilities to avoid erosion problems downstream from outlet devices and emergency spillway(s).

· Perform buoyancy calculations for the outlet structure and footing.  Flotation will occur when the weight of the structure is less than or equal to the buoyant force exerted by the water.
Additional design guidance is located in Section 2.2 of the Hydraulics Technical Manual.
	Local Provisions:




Energy Dissipation

Design Frequency
All drainage system outlets, whether for closed conduits, culverts, bridges, open channels, or storage facilities, shall provide energy dissipation to protect the receiving drainage element from erosion.

· Conveyance storm 
· Flood mitigation storm
	Local Provisions:




Design Criteria
· Energy dissipaters are engineered devices such as rip-rap aprons or concrete baffles placed at the outlet of storm water conveyance systems for the purpose of reducing the velocity, energy and turbulence of the discharged flow.
· Erosion problems at culvert, pipe and engineered channel outlets are common.  Determination of the flow conditions, scour potential, and channel erosion resistance shall be standard procedure for all designs.

· Energy dissipaters shall be employed whenever the velocity of flows leaving a stormwater management facility exceeds the erosion velocity of the downstream area channel system. 

· Energy dissipater designs will vary based on discharge specifics and tailwater conditions.

· Outlet structures shall provide uniform redistribution or spreading of the flow without excessive separation and turbulence.  
· Energy dissipaters are a required component of the iSWM Construction Plan.
Recommended Energy Dissipaters for outlet protection include the following:

· Riprap apron

· Riprap outlet basins

· Baffled outlets

· Grade Control Structures

The reader is referred to Section 4.0 of the Hydraulics Technical Manual and the Federal Highway Administration Hydraulic Engineering Circular No. 14 entitled, Hydraulic Design of Energy Dissipaters for Culverts and Channels, for the design procedures of other energy dissipaters.

Additional design guidance is located in Section 4.0 of the Hydraulics Technical Manual.
	Local Provisions:




3.7
Easements, Plats, and Maintenance Agreements
Easements
Easements are required for all drainage systems that convey stormwater runoff across a development and must include sufficient area for operation and maintenance of the drainage system. Types of easements to be used include:

· Drainage easements - are required for both on-site and off-site public storm drains and for improved channels designed according to current municipality standards.

· Floodplain easements - shall be provided on-site along drainageways that are in a Special Flood Hazard Area as designated on the effective FEMA FIRM maps. No construction shall be allowed within a floodplain easement without the written approval of the municipality.

· Temporary drainage easements are required off-site for temporary channels when future off-site development is anticipated to be enclosed underground or follows an altered alignment. Temporary drainage easements will not be maintained by the municipality and will not terminate until permanent drainage improvements meeting municipality standards are installed and accepted. Temporary drainage easements will require written approval from the municipality. 

· Drainage and utility easements can be combined for underground storm drains and channels, subject to adequate easement width as approved by the municipality.

· Drainage easements shall include adequate width for access and maintenance beyond the top of bank for improved channels. 
· Retaining walls are not permitted within or adjacent to a drainage easement in a residential area in order to reduce the easement width. Retaining walls adjacent to the channel are allowed in non-residential areas only if the property owner provides an agreement for private maintenance.

· The minimum finished floor elevation for structures adjacent to a Special Flood Hazard Area shall be a minimum of one (1) foot above the fully-developed flood mitigation storm water surface elevation or two (2) feet above the effective FEMA base flood elevation.

· Improved channels shall have drainage easements dedicated to meet the requirements of the width of the channel, the one-foot freeboard, any perimeter fencing, and any underground tie-backs or anchors.

· Easements for detention ponds and permanent control BMPs shall be negotiated between the municipality and the property owner.

· The entire reach or each section of any drainage facility must be readily accessible to maintenance equipment. Additional easement(s) shall be required at the access point(s) and the access points shall be appropriately designed to restrict access by the public (including motorcycles).
Minimum easement width requirements for storm drain pipe are shown in Table 3.14 and shall be as follows:


· The outside face of the proposed storm drain line shall be placed five (5) feet off either edge of the storm drain easement. The proposed centerline of overflow swales shall normally coincide with the centerline of the easement.

· For pipe sizes up to 54”, a minimum of five (5) additional feet shall be dedicated when shared with utilities.

· Box culvert minimum easement width shall be determined using Table 3.14 based on an equivalent box culvert width to pipe diameter. 

· For parallel storm drain systems with a combined width greater than 8 feet the minimum easement shall be equal to the width of the parallel storm drain system plus twenty (20) additional feet.

· Drainage easements will generally extend at least twenty-five (25) feet past an outfall headwall to provide an area for maintenance operations. Drainage easements along a required outfall channel or ditch shall be provided until the flowline reaches an acceptable outfall. The minimum storm drain shall not be on property line, except where a variance has been granted.
	Table 3.14  Closed Conduit Easements

	Pipe Size
	Minimum Easement Width Required

	39” and under
	15 Feet

	42” through 54”
	20 Feet

	60” through 66”
	25 Feet

	72” through 102”
	30 Feet


	Local Provisions:




Plats

All platting shall follow established development standards established by the local municipality. Plats shall include pertinent drainage information that will be filed with the plat. Elements to be included on the plat include:

· All public and private drainage easements not recorded by separate instrument

· Easements to be recorded by separate instrument shall be documented on the plat

· All floodplain easements

· Legal disclosure for drainage provisions upon sale or transfer of property

· Documentation of maintenance responsibilities and agreements including transfer of responsibility upon sale of the property

	Local Provisions:




Maintenance Agreements

All drainage improvements constructed within a development and any existing or natural drainage systems to remain in use shall require a maintenance agreement that identifies responsible parties for maintenance. Both private and public maintenance responsibility shall be negotiated between the municipality and the owner and documented in the agreement. The maintenance agreement shall be written such that it remains in force upon sale of transfer of the property.
	Local Provisions:




3.8
Stormwater Control Selection

3.8.1
Control Screening Process

Outlined below is a screening process for structural stormwater controls that can effectively treat the water quality volume, as well as provide water quantity control.  This process is intended to assist the site designer and design engineer in the selection of the most appropriate structural controls for a development site and to provide guidance on factors to consider in their location. This information is also contained in the Site Development Controls Technical Manual.
The following four criteria shall be evaluated in order to select the appropriate structural control(s) or group of controls for a development:

· Stormwater treatment suitability

· Water quality performance

· Site applicability

· Implementation considerations

In addition, the following factors shall be considered for a given site and any specific design criteria or restrictions need to be evaluated:

· Physiographic factors

· Soils

· Special watershed or stream considerations

Finally, environmental regulations shall be considered as they may influence the location of a structural control on site or may require a permit.
The following steps provide a selection process for comparing and evaluating various structural stormwater controls using a screening matrix and a list of location and permitting factors.  These tools are provided to assist the design engineer in selecting the subset of structural controls that will meet the stormwater management and design objectives for a development site or project.

Step 1
Overall Applicability

The following are the details of the various screening categories and individual characteristics used to evaluate the structural controls.

Table 3.15 - Stormwater Management Suitability
The first category in the matrix examines the capability of each structural control option to provide water quality treatment, downstream streambank protection, and flood control.  A blank entry means that the structural control cannot or is not typically used to meet an integrated Focus Area.  This does not necessarily mean that it should be eliminated from consideration, but rather it is a reminder that more than one structural control may be needed at a site (e.g., a bioretention area used in conjunction with dry detention storage).

Ability to treat the Water Quality Volume (WQv):  This indicates whether a structural control provides treatment of the water quality volume (WQv).  The presence of “P” or “S” indicates whether the control is a Primary or Secondary control, respectively, for meeting the TSS reduction goal.

Ability to provide Streambank Protection (SPv):  This indicates whether the structural control can be used to provide the extended detention of the streambank protection volume (SPv).  The presence of a “P” indicates that the structural control can be used to meet SPv requirements.  An “S” indicates that the structural control may be sized to provide streambank protection in certain situations, for instance on small sites.

Ability to provide Flood Control (Qf):  This indicates whether a structural control can be used to meet the flood control criteria.  The presence of a “P” indicates that the structural control can be used to provide peak reduction of the flood mitigation storm event.

Table 3.16 - Relative Water Quality Performance
The second category of the matrix provides an overview of the pollutant removal performance for each structural control option when designed, constructed, and maintained according to the criteria and specifications in this manual.

Ability to provide TSS and Sediment Removal:  This column indicates the capability of a structural control to remove sediment in runoff.  All of the Primary structural controls are presumed to remove 70% to 80% of the average annual TSS load in typical urban post-development runoff (and a proportional removal of other pollutants).

Ability to provide Nutrient Treatment:  This column indicates the capability of a structural control to remove the nutrients nitrogen and phosphorus in runoff, which may be of particular concern with certain downstream receiving waters.

Ability to provide Bacteria Removal:  This column indicates the capability of a structural control to remove bacteria in runoff.  This capability may be of particular concern when meeting regulatory water quality criteria under the Total Maximum Daily Load (TMDL) program.

Ability to accept Hotspot Runoff:  This last column indicates the capability of a structural control to treat runoff from designated hotspots.  Hotspots are land uses or activities that produce higher concentrations of trace metals, hydrocarbons, or other priority pollutants.  Examples of hotspots might include: gas stations, convenience stores, marinas, public works storage areas, garbage transfer facilities, material storage sites, vehicle service and maintenance areas, commercial nurseries, vehicle washing/steam cleaning, landfills, construction sites, industrial sites, industrial rooftops, and auto salvage or recycling facilities.  A check mark indicates that the structural control may be used on hotspot site.  However, it may have specific design restrictions.  Please see the specific design criteria of the structural control for more details in the Site Development Controls Technical Manual.  Local jurisdictions may have other site uses that they designate as hotspots.  Therefore, their criteria should be checked as well.

Table 3.17 - Site Applicability
The third category of the matrix provides an overview of the specific site conditions or criteria that must be met for a particular structural control to be suitable.  In some cases, these values are recommended values or limits and can be exceeded or reduced with proper design or depending on specific circumstances.  Please see the specific criteria section of the structural control for more details. 

Drainage Area:  This column indicates the approximate minimum or maximum drainage area considered suitable for the structural control practice.  If the drainage area present at a site is slightly greater than the maximum allowable drainage area for a practice, some leeway can be permitted if more than one practice can be installed.  The minimum drainage areas indicated for ponds and wetlands should not be considered inflexible limits and may be increased or decreased depending on water availability (baseflow or groundwater), the mechanisms employed to prevent outlet clogging, or design variations used to maintain a permanent pool (e.g., liners).

Space Required (Space Consumed):  This comparative index expresses how much space a structural control typically consumes at a site in terms of the approximate area required as a percentage of the impervious area draining to the control.

Slope:  This column evaluates the effect of slope on the structural control practice.  Specifically, the slope restrictions refer to how flat the area where the facility is installed must be and/or how steep the contributing drainage area or flow length can be.

Minimum Head:  This column provides an estimate of the minimum elevation difference needed at a site (from the inflow to the outflow) to allow for gravity operation within the structural control.  

Water Table:  This column indicates the minimum depth to the seasonally high water table from the bottom or floor of a structural control.

Table 3.18 - Implementation Considerations
The fourth category in the matrix provides additional considerations for the applicability of each structural control option.

Residential Subdivision Use:  This column identifies whether or not a structural control is suitable for typical residential subdivision development (not including high-density or ultra-urban areas).

Ultra-Urban:  This column identifies those structural controls appropriate for use in very high-density (ultra-urban) areas, or areas where space is a premium.

Construction Cost:  The structural controls are ranked according to their relative construction cost per impervious acre treated, as determined from cost surveys. 

Maintenance:  This column assesses the relative maintenance effort needed for a structural stormwater control, in terms of three criteria: frequency of scheduled maintenance, chronic maintenance problems (such as clogging), and reported failure rates.  It should be noted that all structural controls require routine inspection and maintenance.
	Local Provisions:




	Table 3.15  Stormwater Treatment Suitability

	Category
	integrated Stormwater

Controls
	Stormwater Treatment Suitability

	
	
	Water Quality Protection
	Streambank

Protection 
	On-Site Flood Control 
	Downstream

Flood

Control 

	Bioretention Areas
	Bioretention Areas
	P
	S
	S
	-

	Channels
	Enhanced Swales
	P
	S
	S
	S

	
	Channels, Grass
	S
	S
	P
	S

	
	Channels, Open
	-
	-
	P
	S

	Chemical Treatment
	Alum Treatment System
	P
	-
	-
	-

	Conveyance System Components
	Culverts
	-
	-
	P
	P

	
	Energy Dissipation
	-
	P
	S
	S

	
	Inlets/Street Gutters
	-
	-
	P
	-

	
	Pipe Systems
	-
	P
	P
	P

	Detention
	Detention, Dry
	S
	P
	P
	P

	
	Detention, Extended Dry
	S
	P
	P
	P

	
	Detention, Multi-purpose Areas
	-
	P
	P
	P

	
	Detention, Underground
	-
	P
	P
	P

	Filtration
	Filter Strips
	S
	-
	-
	-

	
	Organic Filters
	P
	-
	-
	-

	
	Planter Boxes
	P
	-
	-
	-

	
	Sand Filters, Surface/Perimeter
	P
	S
	-
	-

	
	Sand Filters, Underground
	P
	-
	-
	-

	Hydrodynamic Devices
	Gravity (Oil-Grit) Separator
	S
	-
	-
	-

	Infiltration
	Downspout Drywell
	P
	-
	-
	-

	
	Infiltration Trenches
	P
	S
	-
	-

	
	Soakage Trenches
	P
	S
	-
	-

	Ponds
	Wet Pond
	P
	P
	P
	P

	
	Wet ED Pond
	P
	P
	P
	P

	
	Micropool ED Pond
	P
	P
	P
	P

	
	Multiple Ponds
	P
	P
	P
	P

	Porous Surfaces
	Green Roof
	P
	S
	-
	-

	
	Modular Porous Paver Systems
	S
	S
	-
	-

	
	Porous Concrete
	S
	S
	-
	-

	Proprietary Systems
	Proprietary Systems 1
	S/P
	S
	S
	S

	Re-Use
	Rain Barrels
	P
	-
	-
	-

	Wetlands
	Wetlands, Stormwater
	P
	P
	P
	P

	
	Wetlands, Submerged Gravel
	P
	P
	S
	-


P
=
Primary Control:  Able to meet design criterion if properly designed, constructed and maintained.

S
=
Secondary Control:  May partially meet design criteria.  May be a Primary Control but designated as a Secondary due to other considerations.  For Water Quality Protection, recommended for limited use in approved community-designated areas.

-
=
Not typically used or able to meet design criterion.
1
=
The application and performance of proprietary commercial devices and systems must be provided by the manufacturer and should be verified by independent third-party sources and data if used as a primary control.

	Table 3.16  Water Quality Performance

	Category
	integrated Stormwater

Controls
	Water Quality Performance

	
	
	TSS/ Sediment Removal Rate
	Nutrient Removal Rate (TP/TN)
	Bacteria Removal Rate
	Hotspot Application

	Bioretention Areas
	Bioretention Areas
	80%
	60%/50%
	-
	(

	Channels
	Enhanced Swales
	80%
	25%/40%
	-
	(

	
	Channels, Grass
	50%
	25%/20%
	-
	

	
	Channels, Open
	-
	-
	-
	

	Chemical Treatment
	Alum Treatment System
	90%
	80%/60%
	90%
	(

	Conveyance System Components
	Culverts
	-
	-
	-
	

	
	Energy Dissipation
	-
	-
	-
	

	
	Inlets/Street Gutters
	-
	-
	-
	

	
	Pipe Systems
	-
	-
	-
	

	Detention
	Detention, Dry
	65%
	50%/30%
	70%
	(

	
	Detention, Extended Dry
	65%
	50%/30%
	70%
	(

	
	Detention, Multi-purpose Areas
	-
	-
	-
	

	
	Detention, Underground
	-
	-
	-
	

	Filtration
	Filter Strips
	50%
	20%/20%
	-
	

	
	Organic Filters
	80%
	60%/40%
	50%
	(

	
	Planter Boxes
	80%
	60%/40%
	-
	

	
	Sand Filters, Surface/Perimeter
	80%
	50%/25%
	40%
	(

	
	Sand Filters, Underground
	80%
	50%/25%
	40%
	(

	Hydrodynamic Devices
	Gravity (Oil-Grit) Separator
	40%
	5%/5%
	-
	

	Infiltration
	Downspout Drywell
	80%
	60%/60%
	90%
	

	
	Infiltration Trenches
	80%
	60%/60%
	90%
	

	
	Soakage Trenches
	80%
	60%/60%
	90%
	

	Ponds
	Wet Pond
	80%
	50%/30%
	70%
	(

	
	Wet ED Pond
	80%
	50%/30%
	70%
	(

	
	Micropool ED Pond
	80%
	50%/30%
	70%
	(

	
	Multiple Ponds
	80%
	50%/30%
	70%
	(

	Porous Surfaces
	Green Roof
	85%
	95%/16%
	-
	(

	
	Modular Porous Paver Systems
	2
	80%/80%
	-
	

	
	Porous Concrete
	2
	50%/65%
	-
	

	Proprietary Systems
	Proprietary Systems 1
	1
	1
	1
	

	Re-Use
	Rain Barrels
	-
	-
	-
	

	Wetlands
	Wetlands, Stormwater
	80%
	40%/30%
	70%
	(

	
	Wetlands, Submerged Gravel
	80%
	40%/30%
	70%
	(


(
=
Meets suitability criteria
-
=
Not typically used or able to meet design criterion.

1
=
The application and performance of proprietary commercial devices and systems must be provided by the manufacturer and should be verified by independent third-party sources and data if used as a primary control.

2
=
Porous surfaces provide water quality benefits by reducing the effective impervious area.

	Table 3.17 Site Applicability

	Category
	integrated Stormwater

Controls
	Site Applicability

	
	
	Drainage Area (acres)
	Space Req’d (% of Tributary imp. Area)
	Site Slope
	Minimum Head Required
	Depth to Water Table

	Bioretention Areas
	Bioretention Areas
	5 max3
	5-7%
	6% max
	5 ft
	2 ft

	Channels
	Enhanced Swales
	5 max
	10-20%
	4% max
	1 ft
	Below WT

	
	Channels, Grass
	
	
	
	
	

	
	Channels, Open
	
	
	
	
	

	Chemical Treatment
	Alum Treatment System
	25 min
	None
	
	
	

	Conveyance System Components
	Culverts
	
	
	
	
	

	
	Energy Dissipation
	
	
	
	
	

	
	Inlets/Street Gutters
	
	
	
	
	

	
	Pipe Systems
	
	
	
	
	

	Detention
	Detention, Dry
	
	2-3%
	15% across pond
	6 to 8 ft
	2 ft

	
	Detention, Extended Dry
	
	2-3%
	15% across pond
	6 to 8 ft
	2 ft

	
	Detention, Multi-purpose Areas
	200 max
	
	1% for Parking Lot; 0.25 in/ft for Rooftop
	
	

	
	Detention, Underground
	200 max
	
	
	
	

	Filtration
	Filter Strips
	2 max3
	20-25%
	2-6%
	
	

	
	Organic Filters
	10 max3
	2-3%
	
	5 to 8 ft
	

	
	Planter Boxes
	
	6%
	
	
	

	
	Sand Filters, Surface/Perimeter
	10 max3 /  2 max3
	2-3%
	6% max
	5 ft per 2-3 ft
	2 ft

	
	Sand Filters, Underground
	5 max
	None
	
	
	

	Hydrodynamic Devices
	Gravity (Oil-Grit) Separator
	1 max3
	None
	
	
	

	Infiltration
	Downspout Drywell
	
	
	
	
	

	
	Infiltration Trenches
	5 max
	2-3%
	6% max
	1 ft
	4 ft

	
	Soakage Trenches
	5 max
	27 ft per 1000 ft2 imp. area
	6% max
	1 ft
	4 ft

	Ponds
	Wet Pond
	
	2-3%
	15% max
	6 t 8 ft
	2 ft, if hotspot or aquifer

	
	Wet ED Pond
	25 min3
	
	
	
	

	
	Micropool ED Pond
	10 min3
	
	
	
	

	
	Multiple Ponds
	25 min3
	
	
	
	

	Porous Surfaces
	Green Roof
	
	
	
	
	

	
	Modular Porous Paver Systems
	5 max
	Varies
	
	
	

	
	Porous Concrete
	5 max
	Varies
	
	
	

	Proprietary Systems
	Proprietary Systems 1
	1
	1
	
	
	

	Re-Use
	Rain Barrels
	
	
	
	
	

	Wetlands
	Wetlands, Stormwater
	25 min
	3-5%
	8% max
	3 to 5 ft (shallow) 6 to 8 ft (pond)
	2 ft, if hotspot or aquifer

	
	Wetlands, Submerged Gravel
	5 min
	
	
	2 to 3 ft
	Below WT


-
=
Not typically used or able to meet design criterion.

1
=
The application and performance of proprietary commercial devices and systems must be provided by the manufacturer and should be verified by independent third-party sources and data if used as a primary control.

2
=
Porous surfaces provide water quality benefits by reducing the effective impervious area.

3
=
Drainage area can be larger in some instances
	Table 3.18  Implementation Considerations

	Category
	integrated Stormwater

Controls
	Implementation Considerations

	
	
	Residential Subdivision Use
	High Density/Ultra Urban
	Capital Cost
	Maintenance Burden

	Bioretention Areas
	Bioretention Areas
	(
	(
	Moderate
	Low

	Channels
	Enhanced Swales
	(
	
	High
	Low

	
	Channels, Grass
	(
	
	Low
	Moderate

	
	Channels, Open
	(
	
	Low
	Low

	Chemical Treatment
	Alum Treatment System
	(
	(
	High
	High

	Conveyance System Components
	Culverts
	(
	(
	Low
	Low

	
	Energy Dissipation
	(
	(
	Low
	Low

	
	Inlets/Street Gutters
	(
	(
	Low
	Low

	
	Pipe Systems
	(
	(
	Low
	Low

	Detention
	Detention, Dry
	(
	
	Low
	Moderate to High

	
	Detention, Extended Dry
	(
	
	Low
	Moderate to High

	
	Detention, Multi-purpose Areas
	(
	(
	Low
	Low

	
	Detention, Underground
	
	(
	High
	Moderate

	Filtration
	Filter Strips
	(
	
	Low
	Moderate

	
	Organic Filters
	
	(
	High
	High

	
	Planter Boxes
	
	(
	Low
	Moderate

	
	Sand Filters, Surface/Perimeter
	
	(
	High
	High

	
	Sand Filters, Underground
	
	(
	High
	High

	Hydrodynamic Devices
	Gravity (Oil-Grit) Separator
	
	(
	High
	High

	Infiltration
	Downspout Drywell
	(
	(
	Low
	Moderate

	
	Infiltration Trenches
	(
	(
	High
	High

	
	Soakage Trenches
	(
	(
	High
	High

	Ponds
	Wet Pond
	(
	
	Low
	Low

	
	Wet ED Pond
	(
	
	Low
	Low

	
	Micropool ED Pond
	(
	
	Low
	Moderate

	
	Multiple Ponds
	(
	
	Low
	Low

	Porous Surfaces
	Green Roof
	
	(
	High
	High

	
	Modular Porous Paver Systems
	
	(
	Moderate
	High

	
	Porous Concrete
	
	(
	High
	High

	Proprietary Systems
	Proprietary Systems 1
	1
	(
	High
	High

	Re-Use
	Rain Barrels
	(
	(
	Low
	High

	Wetlands
	Wetlands, Stormwater
	(
	
	Moderate
	Moderate

	
	Wetlands, Submerged Gravel
	(
	(
	Moderate
	High


(
=
Meets suitability criteria
-
=
Not typically used or able to meet design criterion.

1
=
The application and performance of proprietary commercial devices and systems must be provided by the manufacturer and should be verified by independent third-party sources and data if used as a primary control.

Step 2
Specific Criteria

The last three categories in the Structural Control Screening matrix provide an overview of various specific design criteria and specifications, or exclusions for a structural control that may be present due to a site’s general physiographic character, soils, or location in a watershed with special water resources considerations.

Table 3.19 - Physiographic Factors

Three key factors to consider are low-relief, high-relief, and karst terrain.  In the North Central Texas, low relief (very flat) areas are primarily located east of the Dallas metropolitan area.  High relief (steep and hilly) areas are primarily located west of the Fort Worth metropolitan area.  Karst and major carbonaceous rock areas are limited to portions of Palo Pinto, Erath, Hood, Johnson, and Somervell counties.  Special geotechnical testing requirements may be needed in karst areas.  The local reviewing authority should be consulted to determine if a project is subject to terrain constraints.

· Low relief areas need special consideration because many structural controls require a hydraulic head to move stormwater runoff through the facility. 

· High relief may limit the use of some structural controls that need flat or gently sloping areas to settle out sediment or to reduce velocities.  In other cases, high relief may impact dam heights to the point that a structural control becomes infeasible.

· Karst terrain can limit the use of some structural controls as the infiltration of polluted waters directly into underground streams found in karst areas may be prohibited.  In addition, ponding areas may not reliably hold water in karst areas.

Table 3.20 - Soils

The key evaluation factors are based on an initial investigation of the NRCS hydrologic soils groups at the site.  Note that more detailed geotechnical tests are usually required for infiltration feasibility and during design to confirm permeability and other factors.

Table 3.21 - Special Watershed or Stream Considerations
The design of structural stormwater controls is fundamentally influenced by the nature of the downstream water body that will be receiving the stormwater discharge.  In addition, the designer should consult with the appropriate review authority to determine if their development project is subject to additional structural control criteria as a result of an adopted local watershed plan or special provision.

In some cases, higher pollutant removal or environmental performance is needed to fully protect aquatic resources and/or human health and safety within a particular watershed or receiving water.  Therefore, special design criteria for a particular structural control or the exclusion of one or more controls may need to be considered within these watersheds or areas.  Examples of important watershed factors to consider include:
High Quality Streams (Streams with a watershed impervious cover less than approximately 15%).  These streams may also possess high quality cool water or warm water aquatic resources or endangered species.  The design objectives are to maintain habitat quality through the same techniques used for cold-water streams, with the exception that stream warming is not as severe of a design constraint.  These streams may also be specially designated by local authorities.

Wellhead Protection:  Areas that recharge existing public water supply wells present a unique management challenge.  The key design constraint is to prevent possible groundwater contamination by preventing infiltration of hotspot runoff.  At the same time, recharge of unpolluted stormwater is encouraged to maintain flow in streams and wells during dry weather.

Reservoir or Drinking Water Protection:  Watersheds that deliver surface runoff to a public water supply reservoir or impoundment are a special concern.  Depending on the available treatment, a greater level of pollutant removal may be necessary for the pollutants of concern, such as bacteria pathogens, nutrients, sediment, or metals.  One particular management concern for reservoirs is ensuring stormwater hotspots are adequately treated so they do not contaminate drinking water.
	Local Provisions:




	Table 3.19  Physiographic Factors

	Category
	integrated Stormwater

Controls
	Physiographic Factors

	
	
	Low Relief
	High Relief
	Karst

	Bioretention Areas
	Bioretention Areas
	Several design variations will likely be limited by low head
	
	Use poly-linear or impermeable membrane to seal bottom

	Channels
	Enhanced Swales
	Generally feasible. However, slope <1% may lead to standing water in dry swales
	Often infeasible if slopes are 4% or greater
	

	
	Channels, Grass
	
	
	

	
	Channels, Open
	
	
	

	Chemical Treatment
	Alum Treatment System
	
	
	

	Conveyance System Components
	Culverts
	
	
	

	
	Energy Dissipation
	
	
	

	
	Inlets/Street Gutters
	
	
	

	
	Pipe Systems
	
	
	

	Detention
	Detention, Dry
	
	Embankment heights restricted
	Require poly or clay liner, Max ponding depth, Geotechnical tests

	
	Detention, Extended Dry
	
	
	

	
	Detention, Multi-purpose Areas
	
	
	

	
	Detention, Underground
	
	
	GENERALLY NOT ALLOWED

	Filtration
	Filter Strips
	
	
	

	
	Organic Filters
	
	
	

	
	Planter Boxes
	
	
	

	
	Sand Filters, Surface/Perimeter
	Several design variations will likely be limited by low head
	
	Use poly-linear or impermeable membrane to seal bottom

	
	Sand Filters, Underground
	
	
	

	Hydrodynamic Devices
	Gravity (Oil-Grit) Separator
	
	
	

	Infiltration
	Downspout Drywell
	Minimum distance to water table of 4 ft
	
	GENERALLY NOT ALLOWED

	
	Infiltration Trenches
	Minimum distance to water table of 2 ft
	Maximum slope of 6%; trenches must have flat bottom
	GENERALLY NOT ALLOWED

	
	Soakage Trenches
	Minimum distance to water table of 4 ft
	Maximum slope of 6%; trenches must have flat bottom
	GENERALLY NOT ALLOWED

	Ponds
	Wet Pond
	Limit maximum normal pool depth to about 4 ft (dugout)

Providing pond drain can be problematic
	Embankment heights restricted
	Require poly or clay liner

Max ponding depth

Geotechnical tests

	
	Wet ED Pond
	
	
	

	
	Micropool ED Pond
	
	
	

	
	Multiple Ponds
	
	
	

	Porous Surfaces
	Green Roof
	
	
	

	
	Modular Porous Paver Systems
	
	
	

	
	Porous Concrete
	
	
	

	Proprietary Systems
	Proprietary Systems 1
	
	
	

	Re-Use
	Rain Barrels
	
	
	

	Wetlands
	Wetlands, Stormwater
	
	Embankment heights restricted
	Require poly-liner

Geotechnical tests

	
	Wetlands, Submerged Gravel
	
	
	


1
=
The application and performance of proprietary commercial devices and systems must be provided by the manufacturer and should be verified by independent third-party sources and data if used as a primary control.

	Table 3.20  Soils

	Category
	integrated Stormwater
Controls
	Soils

	Bioretention Areas
	Bioretention Areas
	Clay or silty soils may require pretreatment

	Channels
	Enhanced Swales
	

	
	Channels, Grass
	

	
	Channels, Open
	

	Chemical Treatment
	Alum Treatment System
	

	Conveyance System Components
	Culverts
	

	
	Energy Dissipation
	

	
	Inlets/Street Gutters
	

	
	Pipe Systems
	

	Detention
	Detention, Dry
	Underlying soils of hydrologic group “C” or “D” should be adequate to maintain a permanent pool. Most group “A” soils and some group “B” soils will require a pond liner.

	
	Detention, Extended Dry
	

	
	Detention, Multi-purpose Areas
	

	
	Detention, Underground
	

	Filtration
	Filter Strips
	

	
	Organic Filters
	

	
	Planter Boxes
	Type A or B

	
	Sand Filters, Surface/Perimeter
	Clay or silty soils may require pretreatment

	
	Sand Filters, Underground
	

	Hydrodynamic Devices
	Gravity (Oil-Grit) Separator
	

	Infiltration
	Downspout Drywell
	Infiltration rate > 0.5 inch/hr

	
	Infiltration Trenches
	Infiltration rate > 0.5 inch/hr

	
	Soakage Trenches
	Infiltration rate > 0.5 inch/hr

	Ponds
	Wet Pond
	“A” soils may require pond liner

“B” soils may require infiltration testing

	
	Wet ED Pond
	

	
	Micropool ED Pond
	

	
	Multiple Ponds
	

	Porous Surfaces
	Green Roof
	

	
	Modular Porous Paver Systems
	Infiltration rate > 0.5 inch/hr

	
	Porous Concrete
	

	Proprietary Systems
	Proprietary Systems 1
	

	Re-Use
	Rain Barrels
	

	Wetlands
	Wetlands, Stormwater
	“A” soils may require pond liner

	
	Wetlands, Submerged Gravel
	


1
=
The application and performance of proprietary commercial devices and systems must be provided by the manufacturer and should be verified by independent third-party sources and data if used as a primary control.
	Table 3.21  Special Watershed Considerations

	Category
	integrated Stormwater

Controls
	Special Watershed Considerations

	
	
	High Quality Stream
	Aquifer Protection
	Reservoir Protection

	Bioretention Areas
	Bioretention Areas
	Evaluate for stream warming
	Needs to be designed with no exfiltration (ie. outflow to groundwater)
	

	Channels
	Enhanced Swales
	
	Hotspot runoff must be adequately treated
	Hotspot runoff must be adequately treated

	
	Channels, Grass
	
	
	

	
	Channels, Open
	
	
	

	Chemical Treatment
	Alum Treatment System
	
	
	

	Conveyance System Components
	Culverts
	
	
	

	
	Energy Dissipation
	
	
	

	
	Inlets/Street Gutters
	
	
	

	
	Pipe Systems
	
	
	

	Detention
	Detention, Dry
	
	
	

	
	Detention, Extended Dry
	
	
	

	
	Detention, Multi-purpose Areas
	
	
	

	
	Detention, Underground
	
	
	

	Filtration
	Filter Strips
	
	
	

	
	Organic Filters
	
	
	

	
	Planter Boxes
	
	
	

	
	Sand Filters, Surface/Perimeter
	Evaluate for stream warming
	Needs to be designed with no exfiltration (ie. outflow to groundwater)
	

	
	Sand Filters, Underground
	
	
	

	Hydrodynamic Devices
	Gravity (Oil-Grit) Separator
	
	
	

	Infiltration
	Downspout Drywell
	
	
	

	
	Infiltration Trenches
	
	Maintain safe distance from wells and water table. No hotspot runoff
	Maintain safe distance from bedrock and water table. Pretreat runoff

	
	Soakage Trenches
	
	
	

	Ponds
	Wet Pond
	Evaluate for stream warming
	May require liner if “A” soils are present

Pretreat hotspots

2 to 4 ft separation distance from water table
	

	
	Wet ED Pond
	
	
	

	
	Micropool ED Pond
	
	
	

	
	Multiple Ponds
	
	
	

	Porous Surfaces
	Green Roof
	
	
	

	
	Modular Porous Paver Systems
	
	
	

	
	Porous Concrete
	
	
	

	Proprietary Systems
	Proprietary Systems 1
	
	
	

	Re-Use
	Rain Barrels
	
	
	

	Wetlands
	Wetlands, Stormwater
	Evaluate for stream warming
	May require liner if “A” soils are present

Pretreat hotspots

2 to 4 ft separation distance from water table
	

	
	Wetlands, Submerged Gravel
	
	
	


1
=
The application and performance of proprietary commercial devices and systems must be provided by the manufacturer and should be verified by independent third-party sources and data if used as a primary control.

Step 3
Location and Permitting Considerations

In the last step, a site designer assesses the physical and environmental features at the site to determine the optimal location for the selected structural control or group of controls.  Table 3.22 provides a condensed summary of current restrictions as they relate to common site features that may be regulated under local, state, or federal law.  These restrictions fall into one of three general categories:

· Locating a structural control within an area when expressly prohibited by law

· Locating a structural control within an area that is strongly discouraged, and is only allowed on a case by case basis.  Local, state, and/or federal permits shall be obtained, and the applicant will need to supply additional documentation to justify locating the stormwater control within the regulated area.

· Structural stormwater controls must be setback a fixed distance from a site feature.

This checklist is only intended as a general guide to location and permitting requirements as they relate to siting of stormwater structural controls.  Consultation with the appropriate regulatory agency is the best strategy.
	Local Provisions:




	Table 3.22  Location and Permitting Checklist

	Site Feature
	Location and Permitting Guidance

	Jurisdictional Wetland

(Waters of the U.S)

U.S. Army

Corps of Engineers Regulatory Permit 
	· Jurisdictional wetlands must be delineated prior to siting structural control.

· Use of natural wetlands for stormwater quality treatment is contrary to the goals of the Clean Water Act and should be avoided. 

· Stormwater should be treated prior to discharge into a natural wetland.

· Structural controls may also be restricted in local buffer zones.  Buffer zones may be utilized as a non-structural filter strip (i.e., accept sheet flow).

· Should justify that no practical upland treatment alternatives exist.

· Where practical, excess stormwater flows should be conveyed away from jurisdictional wetlands.

	Stream Channel 

(Waters of the U.S)

U.S. Army

Corps of Engineers Section 404 Permit 
	· All Waters of the U.S. (streams, ponds, lakes, etc.) should be delineated prior to design. 

· Use of any Waters of the U.S. for stormwater quality treatment is contrary to the goals of the Clean Water Act and should be avoided. 

· Stormwater should be treated prior to discharge into Waters of the U.S.

· In-stream ponds for stormwater quality treatment are highly discouraged.

· Must justify that no practical upland treatment alternatives exist.

· Temporary runoff storage preferred over permanent pools.

· Implement measures that reduce downstream warming.

	Texas Commission on Environmental Quality 

Groundwater Management Areas
	· Conserve, preserve, protect, recharge, and prevent waste of groundwater resources through Groundwater Conservation Districts

· Groundwater Conservation District pending for Middle Trinity.

· Detailed mapping available from Texas Alliance of Groundwater Districts.

	Texas Commission on Environmental Quality

Surface Water Quality Standards
	· Specific stream and reservoir buffer requirements.

· May be imperviousness limitations

· May be specific structural control requirements.

· TCEQ provides water quality certification – in conjunction with 404 permit
· Mitigation will be required for imparts to existing aquatic and terrestrial habitat.

	100-year Floodplain

Local Stormwater review Authority
	· Grading and fill for structural control construction is generally discouraged within the 100-year floodplain, as delineated by FEMA flood insurance rate maps, FEMA flood boundary and floodway maps, or more stringent local floodplain maps. 
· Floodplain fill cannot raise the floodplain water surface elevation by more than limits set by the appropriate jurisdiction.

	Stream Buffer

Check with appropriate review authority whether stream buffers are required
	· Consult local authority for stormwater policy.
· Structural controls are discouraged in the streamside zone (within 25 feet or more of streambank, depending on the specific regulations).

	Utilities

Local Review Authority
	· Call appropriate agency to locate existing utilities prior to design.

· Note the location of proposed utilities to serve development.
· Structural controls are discouraged within utility easements or rights of way for public or private utilities.

	Roads

TxDOT or DPW
	· Consult TxDOT for any setback requirement from local roads.

· Consult DOT for setbacks from State maintained roads.
· Approval must also be obtained for any stormwater discharges to a local or state-owned conveyance channel.

	Structures 

Local Review Authority
	· Consult local review authority for structural control setbacks from structures.
· Recommended setbacks for each structural control group are provided in the performance criteria in this manual.

	Septic Drain fields

Local Health Authority
	· Consult local health authority.
· Recommended setback is a minimum of 50 feet from drain field edge or spray area.

	Water Wells

Local Health Authority
	· 100-foot setback for stormwater infiltration.
· 50-foot setback for all other structural controls.


4.0 integrated Construction Criteria
The chapter lays out the criteria and methods to be employed during construction to limit erosion and the discharge of sediment and other pollutants from construction sites.
4.1
Applicability 
Requirements for temporary controls during construction are applicable to the following projects:  

· Land disturbing activity of one acre or more or
· Land disturbing activity of less than one acre, where the activity is part of a common plan of development that is one acre or larger. 

A common plan of development refers to a construction activity that is completed in separate stages, separate phases, or in combination with other construction activities.

	Local Provisions:




4.2
Introduction 
iSWM requires the use of temporary controls during construction to prevent or reduce the discharge of sediment and other pollutants from the construction site.  The temporary controls are known as Best Management Practices (BMPs).  BMPs may be activities, prohibitions, maintenance procedures, structural controls, operating procedures and other measures to prevent erosion and control the discharge of sediment and other pollutants.    

Construction BMPs shall be considered when developing the Preliminary iSWM  Plan and shall be coordinated with the Final iSWM Plans. Construction BMPs fall into three general categories: Erosion Control, Sediment Control, and Material and Waste Control. The first category prevents erosion, and the second catches soil from erosion that does occur.  It is generally more effective and less expensive to prevent erosion than to treat turbid runoff.  Material and waste controls are for other sources of stormwater pollutants on a construction site.  

The following priorities shall be applied to the selection of construction BMPs:  
· Retain native topsoil and natural vegetation in an undisturbed state by incorporating natural drainage features and buffer areas into the site design.
· Limit the area of disturbance and vehicle access to the site.
· Limit the extent of clearing operations, and phase construction operations to minimize the area disturbed at any one time.
· Stabilize disturbed areas as soon as possible (not at the end of construction), particularly in channels and on cut/fill slopes.
· Minimize the disturbance of steep slopes during construction, and minimize slope length and steepness. 

· Coordinate stream crossings, and minimize the construction of temporary stream crossings.
· Provide sediment controls, including but not limited to perimeter controls, where stormwater discharges will occur from disturbed areas.
· Prevent tracking of sediment off-site through the establishment of stabilized construction entrances and exits.
· Control sediment and other contaminants from dewatering activities.

· Control discharges of construction materials and wastes. 
State Requirements
In addition to the municipality requirements outlined in this chapter, land disturbing activities must comply with the Texas Commission on Environmental Quality (TCEQ) requirements under General Permit Number TXR150000, commonly referred to as the “Construction General Permit.”  This permit contains requirements for a Storm Water Pollution Prevention Plan (SWP3), state and local notifications, and installation, maintenance, and inspection of best management practices on construction sites.  The Water Quality Technical Manual contains guidance for preparing a SWP3. However, compliance with the Construction General Permit is beyond the scope of this iSWM Criteria Manual and is the sole responsibility of the construction site operator(s).

	Local Provisions:




4.3 Criteria for BMPs during Construction 
The iSWM Construction Plan shall include, but shall not be limited to, the following:

· Topography; 

· Limits of all areas to be disturbed by construction activity, including off-site staging areas, utility lines, batch plants, and spoil/borrow areas;

· Location and types of erosion control, sediment control, and material and waste control BMPs;

· Construction details and notes for erosion control, sediment control, and material and waste control BMPs; and
· Inspections and maintenance notes. 

BMPs and notes shall be provided for all the elements listed in this section, unless site conditions render an element not applicable.  BMPs shall be selected and designed according to the technical criteria in the Construction Controls Technical Manual.  Site data gathered and analyzed in Step 2 of the integrated Development Process shall be the basis for selecting BMPs.  

The minimum design storm for temporary BMPs is the 2-year, 24-hour duration storm event.  

Plans for temporary BMPs shall be prepared by a Certified Professional in Erosion and Sediment Control (CPESC) or a licensed engineer or registered landscape architect in the State of Texas who has documented experience in hydrology and hydraulics and erosion and sediment control.  

	Local Provisions:




4.3.1 
Erosion Controls 
Erosion control is first line of defense and the primary means of preventing stormwater pollution.  They shall be designed to retain soil in place and to minimize the amount of sediment that has to be removed from stormwater runoff by other types of BMPs.  Fact Sheets for different types of Erosion Control BMPs are in Section 2.0 of the Construction Controls Technical Manual.  

Limits of Disturbance
On the iSWM Construction Plans, clearly show the limits of the area to be disturbed.  
Design Criteria
· Minimize the disturbance of steep slopes.

· Constrain the disturbed area to the minimum necessary to construct the project.

· Include the contractor’s staging area, borrow/spoil area, utilities and any other areas on or off site that will be disturbed in support of the construction activity.
· Specify construction fencing or similar protective measures to prevent disturbance of natural drainage features, trees, vegetative buffers and other existing features to be preserved.

Slope Protection

Slope protection shall be provided for disturbed or cut/fill slopes that are one vertical on three horizontal (3H:1V) or steeper, 50 feet in length or longer, or on highly erodible soils.  Show the location and type of BMPs to on the plans. 

Design Criteria
· Where feasible, add notes that prohibit disturbing the slope until final site grading.

· Where a stabilized discharge point is available, provide temporary berms or swales to direct stormwater away from the slope until the slope is stabilized.  

· Check dams shall be used within swales that are cut down a slope.

· Temporary terraces, vegetated strips or equivalent linear controls shall be specified at regular intervals to break-up slopes longer than 50 feet until the slope is stabilized.  

· Specify final stabilization measures to be initiated within 14 days of completing work on the slope.

· Hydromulch is prohibited for slope stabilization unless the slope is one vertical on five horizontal (5H:1V) or less.

Channel Protection
Show the location and type of BMPs used to prevent the erosion of channels, drainage ways, streambanks, and outfalls until permanent structures and final stabilization measures are installed.  

Design Criteria
· Provide temporary energy dissipaters at discharge points.  

· If final channel stabilization consists of vegetation, anchored erosion control blankets, turf reinforcement mats, or an equivalent BMP that is resistant to channel flow shall be installed until the vegetation is established.  

· If the BMPs include check dams, velocity dissipaters or other structures that extend into the channel, the BMPs shall be designed by a licensed engineer to function under the flow conditions produced by the design storm.  The engineer shall verify that the BMPs will not divert flow or cause flooding of adjacent properties and structures.   

· Specify final stabilization measures to be initiated within 14 days of completing work on the channel. 

Temporary Stabilization

Temporary stabilization practices shall be specified for disturbed areas where work stops for 14 days or more.  

Design Criteria
· Stabilization measures shall be appropriate for the time of year, site conditions, and estimated duration of use.  

· Stabilization BMPs shall be provided for soil stockpiles.  

Final Stabilization

Final stabilization practices shall be specified for disturbed areas that are not covered by buildings, pavement or other permanent structures upon completion of construction.  Final stabilization measures shall be coordinated with the site’s landscaping plan.  

Design Criteria
· Final stabilization shall be specified to start within fourteen days of completing soil disturbing activities.   

· If space is available, top soil shall be stockpiled during construction and distributed onto the surface of disturbed areas prior to final stabilization.  

· If top soil has not been stockpiled, soil amendments (compost, fertilizer, etc.) shall be specified with the final stabilization measures.  

· Final stabilization measures must provide a perennial vegetative cover with a uniform density of 70% of the native background vegetative cover or equivalent permanent measures (riprap, gabion, or geotextiles).  

· Include notes requiring temporary BMPs be removed within 30 days of establishing final stabilization.

	Local Provisions:




4.3.2 
Sediment Controls 
Sediment control BMPs shall be designed to capture sediment on the site when preventing erosion is not feasible due to on-going construction activity.  Sediment control BMPs and their locations shall be designed to change with the different phases of construction as site conditions and drainage patterns change.  Sediment controls for the initial phase of construction shall be installed before any site disturbing activities begin.  Fact Sheets for different types of Sediment Control BMPs are in Section 3.0 of the Construction Controls Technical Manual.     

Sediment Barriers 
Sediment barriers may be linear controls (silt fence, compost socks, sediment logs, wattles, etc.), check dams, berms, sediment basins, sediment traps, active treatment systems and other structural BMPs designed to capture sediment suspended in stormwater.      

Design Criteria
· Sediment barriers shall be designed to treat the volume of runoff from the design storm.  

· Sediment barriers are not required for areas of the site that are undisturbed. 

· If linear controls are used as the only sediment barrier for a project, the linear control shall be provided at a rate of 100 linear feet per quarter-acre of disturbed area.  A series of linear controls may be needed throughout the site and are not limited to the perimeter.
· Linear controls shall not be used across areas of concentrated flow, such as drainage ditches, swales and outfalls.   

· A sediment basin shall be provided where stormwater runoff from 10 acres or more of disturbed area flows to a common drainage location, unless a basin is infeasible due to site conditions or public safety.  The basin shall be designed for the volume of runoff from the total area contributing (on-site and off-site) to the common drainage location, not just the volume from the disturbed portion of the contributing area.  Stormwater diversion BMPs may be used to divert stormwater from upslope areas away from and around the disturbed area to minimize the design volume of the sediment basin.  
· Both existing topography and graded topography shall be evaluated when determining if 10 acres or more discharges to a common location.

· If a sediment basin is infeasible on a site of 10 acres or more, a series of smaller sediment traps and/or linear controls shall be provided throughout the site to provide an equivalent level of protection.  

· Permanent detention and retention basins may be used as a sediment basin during construction if all sediment is removed upon completion of construction.

Perimeter Controls

A linear BMP shall be provided at all down slope boundaries of the construction activity and side slope boundaries where stormwater runoff may leave the site.  Linear sediment barriers may be used to satisfy the requirement for perimeter controls.     

Storm Drain Inlet Protection

Storm drain inlet protection shall not be used as a primary sediment control BMP unless all other primary controls are infeasible due to site configuration or the type of construction activity.  Inlet protection is to intended to be a last line of defense in the event of a temporary failure of other sediment controls.    

Design Criteria
· Municipality approval is required before installing inlet protection on public streets.

· Inlet protection shall only be specified for low point inlets where positive overflow is provided.  

· Drainage patterns shall be evaluated to ensure inlet protection will not divert flow or flood the roadway or adjacent properties and structures.  

Construction Access Controls

BMPs shall be provided to prevent off-site vehicle tracking of soil and pollutants.

Design Criteria
· Limit site access to one route during construction, if possible; two routes for linear projects.  

· Design the access point(s) to be at the upslope side of the construction site.  Do not place the construction access at the lowest point on the construction site.

· Specify rock stabilization or an equivalent BMP for all access points.  

· Include notes requiring soil tracked onto public roads be removed at a frequency that minimizes site impacts and prior to the next rain event, if feasible..  

· Using water to wash sediment from streets is prohibited.

Dewatering Controls

Water pumped from foundations, vaults, trenches and other low areas shall be discharged through a BMP or treated to remove suspended soil and other pollutants before the water leaves the site.  The plans shall include notes that prohibit discharging the water directly into flumes, storm drains, creeks or other drainage ways. Where state or local discharge permit requirements exist for the pollutant(s) suspected of being in the water, the plan shall include the discharge permit conditions.
	Local Provisions:




4.3.3 
Material and Waste Controls 
Notes shall be placed on the iSWM Construction Plan for the proper handling and storage of materials and wastes that can be transported by stormwater.  At a minimum, notes shall be provided for the materials and wastes in Table 4.1.  Additional notes and BMPs shall be provided if other potential pollutants are expected to be on-site.  Construction details shall be provided when necessary to ensure proper installation of a material or waste BMP.  
All material and waste sources shall be located a minimum of 50 feet away from inlets, swales, drainage ways, channels and waters of the U.S., if the site configuration provides sufficient space to do so.   In no case shall material and waste sources be closer than 20 feet from inlets, swales, drainage ways, channels and waters of the U.S. 

	Table 4.1  Requirements for Materials and Wastes

	Material or Waste Source
	Requirements

	Sanitary Facilities
	Sanitary facilities shall be provided on the site, and their location shall be shown on the iSWM Construction Plan.  The facilities shall be regularly serviced at the frequency recommended by the supplier for the number of people using the facility.

	Trash and Debris
	Show the location of trash and debris storage on the iSWM Construction Plan.  Store all trash and debris in covered bins or other enclosures.  Trash and debris shall be removed from the site at regular intervals.  Containers shall not be allowed to overflow.

	Chemicals and Hazardous Materials
	The amount of chemicals and hazardous materials stored on-site shall be minimized and limited to the materials necessary for the current phase of construction.  Chemicals and hazardous materials shall be stored in their original, manufacturer’s containers inside of a shelter that prevents contact with rainfall and runoff.  Hazardous material storage shall be in accordance with all Federal, state and local laws and regulations.  Storage locations shall have appropriate placards and secondary containment equivalent to 110% of the largest container in storage.  If an earthen pit or berm is used for secondary containment, it shall be lined with plastic.  Containers shall be kept closed except when materials are added or removed.  Materials shall be dispensed using drip pans or within a lined, bermed area or using other spill/overflow protection measures.   

	Fuel Tanks
	On-site fuel tanks shall be provided with a secondary enclosure equivalent to 110% of the tank’s volume.  If the enclosure is an earthen pit or berm, the area shall be lined with plastic.  Show the location of fuel tanks and their secondary containment on the iSWM Construction Plan.  

	Concrete Wash-out Water
	An area shall be designated on the iSWM Construction Plan for concrete wash-out.  A pit or bermed area, lined with plastic, or an equivalent containment measure shall be provided for concrete wash-out water.  The containment shall be a minimum of 6 CF for every 10 CY of concrete placed plus a one foot freeboard.  The discharge of wash-out water to drainage ways or storm drain infrastructure shall be prohibited.

	Hyper-chlorinated Water from Water Line Disinfection
	Hyper-chlorinated water shall not be discharged to the environment unless the chlorine concentration is reduced to 4 ppm or less by chemically treating to dechlorinate or by on-site retention until natural attenuation occurs.  Natural attenuation may be aided by aeration.  Water with measurable chlorine concentration of less than 4 ppm is prohibited from being discharged directly to surface water.  It shall be discharged onto vegetation or through a conveyance system for further attenuation of the chlorine before it reaches surface water.  Alternatively, permission from the sanitary sewer operator may be obtained to discharge directly to the sanitary sewer.   

	Vehicle/Equipment Wash Water
	Vehicle and equipment washing is prohibited on the site unless a lined basin is provided to capture 100% of the wash water.  The wash water may be allowed to evaporate or hauled-off for disposal.

	Soil Stabilizers
	Lime or other chemical stabilizers shall be limited to the amount that can be mixed and compacted by the end of each working day.  Stabilizers shall be applied at rates that result in no runoff.  Stabilization shall not occur immediately before and during rainfall events.  Soil stabilizers stored on-site shall be considered a hazardous material and shall meet all the requirements for chemicals and hazardous materials.  

	Concrete Saw-cutting Water
	Slurry from concrete cutting shall be vacuumed or otherwise recovered and not be allowed to discharge from the site.  If the pavement to be cut is near a storm drain inlet, the inlet shall be protected by sandbags or equivalent temporary measures to prevent the slurry from entering the inlet.  


	Local Provisions:




4.3.4 
Installation, Inspection and Maintenance

The iSWM Construction Plan shall include details and notes that specify the proper installation, inspection and maintenance procedures for BMPs.  The BMPs for the initial phase of construction must be implemented before starting any activities that result in soil disturbance, including land clearing.  Notes shall indicate the sequence of BMP installation for subsequent phases of construction. 

Notes on the iSWM Construction Plan shall indicate the frequency of inspections and the areas to be inspected.  Inspections shall include:

· Inspecting erosion and sediment controls to ensure that they are operating correctly;

· Inspecting locations where vehicles enter or exit the site for evidence of off-site tracking; 

· Inspecting material and waste controls to ensure they are effective; and

· Inspecting the perimeter of disturbed areas and discharge points for evidence of sediment or other pollutants that may have been discharged.  

Erosion, sediment, and material and waste controls shall be repaired, replaced, modified and/or added if inspections reveal the controls were not installed correctly, are damaged, or are inadequate or ineffective in controlling their targeted pollutant.    

Notes for maintenance of BMPs shall require the removal of sediment from BMPs when the sediment reaches half of the BMP’s capacity or more frequently.  Sediment discharged from the site shall be removed prior to the next rain event, where feasible, and in no case later than seven days after it is discovered.  Upon completion of construction, sediment shall be removed from all storm drain infrastructure and permanent BMPs before the temporary BMPs are removed from the site.    

	Local Provisions:




5.0 Additional Local Requirements 
· Municipality can update detailed checklists for iSWM Plans based on their requirements
Checklist for Conceptual
iSWM Plan Preparation and Review




Included?




 Yes 
  No  
Comments

Mapping and plans which illustrate at a minimum:


(recommended scale of 1” = 50’ or greater)

1. Project Description 

A.
Name, legal address and telephone number of applicant






B.
Name, legal address and telephone number of preparer






C.
Common address and legal description of site







D.
Vicinity map 






E.
Proposed land use with Standard Industrial Code No.









Yes 
  No  
Comments

2. Planning Concerns
A.
Have any previous drainage or watershed plans been completed in the watershed? (If yes, describe)






B.
Is there any known history of flooding downstream? (If yes, describe conditions and locations)






C.
Is there any known history of excessive erosion downstream? (If yes, describe conditions and locations)






D.
Are there any known downstream drainage constrictions such as undersized culverts or channels? Size?






E.
Are there any known or suspected wetland areas, mitigation areas, 404 permit areas, or other natural habitat features which require special consideration?






F.
Are there any existing dams over six feet in height which are or will be subject to TCEQ regulations?






G.
Are there any existing impoundments subject to TCEQ water rights permitting? (Livestock ponds are not exempt when converted to other uses.)






H.
Are there any existing environmental concerns on the site requiring special treatment or design consideration (i.e. fuel stations, vehicle maintenance, auto recycling, illegal dump sites, landfills, etc.)?






Checklist for Conceptual

iSWM Plan Preparation and Review (continued)


 Yes 
  No  
Comments

3. Existing Conditions

A.
Copy of applicable digital orthophoto showing proposed project boundaries






B.
Best available existing topography (no greater than 2-foot contours recommended)






C.
Total Site Area and Total Impervious Area (acres)






D.
Benchmarks used for site control if available






E.
Perennial and intermittent streams






F.
Predominant soils from USDA soil surveys and/or on site soil borings






G.
Boundaries of existing predominant vegetation






H.
Location and boundaries of natural feature protection and conservation areas such as wetlands, lakes, ponds, and other setbacks (e.g., stream buffers, drinking water well setbacks, septic setbacks, etc.)






I.
Location of existing roads, buildings, parking lots and other impervious areas 






J.
Location of existing utilities (e.g., water, sewer, gas, electric) and easements






K.
Location of existing conveyance systems such as storm drains, inlets, catch basins, channels, swales, and areas of overland flow






L.
Flow paths






M.
Location of floodplain/floodway limits and relationship of site to upstream/downstream properties and drainages






N.
Location and dimensions of existing channels, bridges or culvert crossings







4. Conceptual Site Layout

A.
Complete the iSWM Conceptual Plan Worksheet






B.
Hydrologic analysis to determine conceptual runoff rates, volumes and velocities to support selection of Stormwater Controls






C.
Conceptual site design identifying integrated site design practices used






D.
Identification and calculation of stormwater site design credits






Checklist for Conceptual

iSWM Plan Preparation and Review (continued)


 Yes 
  No  
Comments

E.
Approximate downstream assessment limits for all outfalls






F.
Conceptual estimates of integrated Design Focus Area requirements






G.
Conceptual selection, location and size of proposed structural stormwater controls






H.
Conceptual limits of proposed clearing and grading






Checklist for Preliminary
iSWM Plan Preparation and Review




Included?



 Yes 
  No  
Comments

Mapping and plans which illustrate at a minimum:


(recommended scale of 1” = 50’ or greater)

1.
Existing Conditions Hydrologic Analysis

A.
Existing and proposed topography (no greater than 2-foot contours recommended)






B.
Total Site Area and Total Impervious Area (acres)






C.
Perennial and intermittent streams






D.
Predominant soils from USDA soil surveys or soil borings






E.
Boundaries of existing predominant vegetation and proposed limits of clearing and grading






F.
Location and boundaries of natural feature protection and conservation areas such as wetlands, lakes, ponds, and other setbacks (e.g., stream buffers, drinking water well setbacks, septic setbacks, etc.)






G.
Location of existing and proposed roads, buildings, parking lots and other impervious areas






H.
Location of existing and proposed utilities (e.g., water, sewer, gas, electric) and easements






I.
Preliminary selection and location of stormwater controls 






J.
Location of existing and proposed conveyance systems such as storm drains, inlets, catch basins, channels, swales, and areas of overland flow






K.
Flow paths







L.
Location of floodplain/floodway limits and relationship of site to upstream/downstream properties and drainages






M.
Preliminary location and dimensions of proposed channel modifications, such as bridge or culvert crossings







N.
Existing conditions hydrologic analysis for runoff rates, volumes and velocities showing methodologies used and supporting calculations






Checklist for Preliminary

iSWM Plan Preparation and Review (continued)




Included?




 Yes 
  No  
Comments

2.
Project Description and Design Considerations (updated information from Conceptual Plan)

A.
Name, legal address and telephone number of applicant







B.
Name, legal address and telephone number of preparer






C.
Common address and legal description of site






D.
Vicinity Map






E.
Discussion of integrated Site Design Practices






F.
Discussion of Credits for integrated Site Design






G.
Discussion of stormwater controls






H.
Discussion of groundwater recharge considerations






I.
Discussion of hotspot land uses and runoff treatment







 Yes 
  No  
Comments

3.
Post-Development Hydrologic Analysis

A.
Proposed (post-development) conditions hydrologic analysis for runoff rates, volumes, and velocities showing the methodologies used and supporting calculations






B.
Preliminary estimates of integrated Design Focus Area requirements






C.
Preliminary identification and calculation of credits for integrated site designs







D.
Location and boundary of proposed natural feature protection areas






4.
Downstream Assessments
A.
Preliminary analysis of potential downstream impact/effects of project, where necessary






Checklist for Preliminary

iSWM Plan Preparation and Review (continued)


 Yes 
  No  
Comments

5.
Stormwater Management System Design

A.
Hydrologic and hydraulic analysis of the stormwater management system for all applicable design storms







B.
Preliminary sizing calculations for stormwater controls including contributing drainage area, storage, and outlet configuration






C.
Narrative describing the selected stormwater controls






Checklist for Final
iSWM Plan Preparation and Review




Included?



 Yes 
  No  
Comments


1. Existing Conditions Hydrologic Analysis

A.
Updated checklist from Preliminary iSWM Site Plan






2. Project Description and Design Considerations

A.
Updated checklist from Preliminary iSWM Site Plan






3. Post-Development Hydrologic Analysis

A.
Updated checklist from Preliminary iSWM Site Plan






B.
Final sizing calculations for stormwater controls including contributing drainage area, storage, and outlet configuration






C.
Stage-discharge or outlet rating curves and inflow and outflow hydrographs for storage facilities






D.
Final analysis of potential downstream impact/effects of project, where necessary






E.
Dam safety and breach analysis, where necessary







4.
Downstream Assessments
A.
Update checklist from Preliminary iSWM Site Plan






5.
Stormwater Management System Design
A.
Update checklist from Preliminary iSWM Site Plan






B.
Existing and proposed structural elevations (e.g., invert of pipes, manholes, etc.)






C.
Design water surface elevations






Checklist for Final

iSWM Plan Preparation and Review (continued)

 Yes 
  No  
Comments

D.
Structural details and specifications of structural control designs, outlet structures, embankments, spillways, grade control structures, conveyance channels, etc.





 

E.
Professional Engineer seal, signature and date






6.
iSWM Construction Plan
A.
Existing topography and natural drainage features and post-development topography and drainage features






B.
Limits of disturbance, including off-site areas that will be disturbed and natural features to be protected within the disturbed areas






C.
Location, details, BMP design calculations (if applicable), and notes for erosion controls






D.
Locations, details, BMP design calculations (if applicable), and notes for sediment controls






E.
Location, details, BMP design calculations (if applicable), and notes for material and waste controls






F.
Inspection and maintenance notes






G.
Sequence of BMP installation based on sequence of construction phases






H.
Schedule and phasing of temporary and permanent stabilization on different area of the site






I.
Temporary structures that will be converted into permanent storm water controls






J.
Prepared by CPESC, PE or RLA












Checklist for Final

iSWM Plan Preparation and Review (continued)

 Yes 
  No  
Comments

7.
Landscaping Plan
A.
Arrangement of planted areas, natural areas, and other landscaped features






B.
Information required to construct landscaping elements






C.
Descriptions and standards for the methods, materials and vegetation that are to be used







 Yes 
  No  
Comments

8.
Operations and Maintenance Plan
A.
Name, legal address and phone number of responsible parties for maintenance activities






B.
Description and schedule of maintenance tasks






C.
Description of applicable easements






D.
Description of funding source






E.
Access and safety issues






F.
Procedures for testing and disposal of sediments, if required






G.
Expected service life of structures and estimated cost to replace






H.
Executed Maintenance Agreement(s), as required






9.
Evidence of Acquisition of Applicable Federal, State, and Local Permits 

A.
USACE Regulatory Program permits






B.
401 water quality certification






C.
TPDES Construction permit






D.
Other







E.
Other







Checklist for Final

iSWM Plan Preparation and Review (continued)

 Yes 
  No  
Comments

10. Waiver requests

A.
Evidence of acquisition of all necessary legal agreements (e.g., easements, covenants, land trusts, etc.)









Figure 1: iSWM Program Support Documents and Tools











Figure 1.1 iSWM Applicability Flowchart




















Figure 2.1 iSWM Flowchart









































































































































Table 3.21 Special Watershed Considerations





























City


Date here








December 2009
ii

